## TOTAL
Biloela | 811
Thangool | 74
Moura | 183
Baralaba | 93
Banana | 24
Taroom | 343
Theodore | 119
Cracow | 4
Wowan | 21
Dululu | 5
Goovigen | 37
Jambin | 7
TOTAL RCD's | 1721

## Biloela - Thangool - Rannes
PREMISES | ADDRESS | Asset ID | Job No. for Accounts | NO. | Circuit Breaker No. | Switchboards | MAINTENANCE & SERVICE TARGETS - COSTING BREAKDOWN
[7 empty] | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS
BILOELA
Dwelling | 195 Tognolini Baldwin Road | FAC211 | 7303.0211.0050 | 1 | RCD - 25amp
Biloela Information Centre -Including Public Amenities & Park Area | Callide Street | FAC131 | 7403.0131.0050 | 6 | CB1 - 32amp
CB3 - 20amp
CB4 - 20amp
CB5 - 16amp
CB6 - 16amp
CB9 - 20amp
McQuillan Park - Skate Park | Pairie Street | PK16 | 7203.0016.0050 | 1 | CB1 - 16A
| Admin Building DB - CE Block C | FAC135 | 7503.0135.0050 | 146 | CB1 - 20amp
CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
CB5 - 20amp
CB6 - 20 amp
CB7 - 20amp
CB8 - 20amp
CB9 - 20amp
CB10 - 20amp
CB11 - 20amp
CB12 - 20amp
CB13 - 20amp
CB14 - 20amp
CB15 - 20amp
CB16 - 20amp
CB17 - 20amp
CB19 - 20amp
CB20 - 20amp
CB21 - 20amp
CB22 - 20amp
CB23 - 20amp
| DB - AN Block A |  |  |  | CB1 - 20amp | Non Essential Chassis
CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
CB5 - 20amp
CB6 - 20amp
CB11 - 20amp
CB12 - 20amp
[5 empty] | CB1 - 20amp | Essential Chassis
CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
CB5 - 20amp
CB6 - 20amp
CB7 - 20amp
CB8 - 20amp
CB9 - 20amp
CB10 - 20amp
CB11 - 20amp
| DB - MECH - C1 |  |  |  | CB24 -16amp
| DB - MECH - A |  |  |  | CB10 - 20amp
| DB-MECH-B1 |  |  |  | CB22 - 16amp
| DB - PR |  |  |  | CB1 - 20amp
CB2 - 20amp
CB19 - 16amp
CB20 - 20amp
| Admin Building - DB - BE |  |  |  | CB1 - 20amp
CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
CB5 - 20amp
CB6 - 20amp
CB7 - 20amp
CB8 - 20amp
CB9 - 20amp
CB10 - 20amp
CB11 - 20amp
CB12 - 20amp
CB13 - 20amp
CB14 - 20amp
CB15 - 20amp
CB16 - 20amp
CB17 - 20amp
CB37 - 20amp
CB38 - 20amp
CB39 - 20amp
CB40 - 20amp
CB41 - 20amp
CB42 - 20amp
CB43 - 20amp
CB44 - 20amp
CB45 - 20amp
CB46 - 20amp
CB47 - 20amp
CB48 - 20amp
CB49 - 20amp
CB50 - 20amp
CB51 - 20amp
CB52 - 20amp
CB53 - 20amp
CB54 - 20amp
CB55 - 20amp
CB56 - 20amp
CB57 - 20amp
CB58 - 20amp
CB59 - 20amp
CB60 - 20amp
CB61 - 20amp
CB62 - 20amp
CB63 - 20amp
CB64 - 20amp
CB65 - 20amp
CB66 - 20amp
CB72 - 20amp
| Admin Building DB - CN |  |  |  | CB1 - 20amp
CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
CB5 - 20amp
CB6 - 20amp
CB7 - 20amp
CB8 - 20amp
CB9 - 25amp
CB10 - 20amp
CB15 - 20amp
CB16 - 20amp
CB17 - 20amp
CB18 - 20amp
CB19 - 25amp
CB20 - 20amp
CB21 - 20amp
CB22 - 20amp
CB23 - 20amp
CB24 - 25amp
CB25 - 20amp
CB26 - 20amp
CB27 - 20amp
CB28 - 20amp
CB29 - 20amp
CB30 - 20amp
CB31 - 20amp
CB32 - 20amp
CB33 - 20amp
CB34 - 20amp
CB35 - 20amp
CB36 - 20amp
CB37 - 20amp
CB38 - 20amp
CB39 - 20amp
CB40 - 20amp
CB41 - 20amp
CB42 - 20amp
CB43 - 20amp
CB44 - 20amp
CB45 - 20amp
CB46 - 20amp
CB47 - 20amp
CB48 - 20amp
CB49 - 20amp
CB50 - 20amp
CB51 - 20amp
CB52 - 20amp
| Art Gallery DB-D |  |  |  | CB1 - 20amp
CB2 - 20amp
Panorama Park - BBQ Shelter | Panorama Drive | PK10 | 7203.0010.0050 | 3 | LTG - 16AMP
PWR - 20amp
BBQ - 32amp
Biloela Library | 81 Grevillea Street | FAC137 | 7403.0137.0050 | 44 | CB1 - 20amp
CB3 - 20amp
CB5 - 20amp
CB7 - 20amp
CB9 - 20amp
CB11 - 20amp
CB13 - 20amp
CB15 - 20amp
CB17 - 20amp
CB19 - 20amp
CB21 - 20amp
CB23 - 20amp
CB25 - 20amp
CB27 - 20amp
CB29 - 20amp
CB31 - 20amp
CB33 - 20amp
CB35 - 20amp
CB37 - 20amp
CB39 - 20amp
CB41 - 20amp
CB43 - 20amp
CB45 - 20amp
CB47 - 20amp
CB49 - 20amp
CB51 - 20amp
CB53 - 20amp
CB57 - 20amp
CB59 - 20amp
CB2 - 20amp
CB4 - 20amp
CB6 - 20amp
CB8 - 20amp
CB10 - 20amp
CB12 - 32amp
CB14 - 16amp
CB16 - 16amp
CB18 - 16amp
CB20 - 16amp
CB22 - 16amp
CB24 - 16amp
CB26 - 16amp
CB28 - 16amp
CB55 - 20amp
Biloela Swimming Pool | Old Pump Shed | FAC167 | 7603.0167.0050 | 37 | Lights - 20amp
PWR - 20amp
PWR - 20amp
PWR - 20amp
PWR - 20amp
Single SPO Ctrl - 10amp
| New Pump Shed |  |  |  | Lights - 16amp
Solar & Gas Pump Ctrl - 16amp
PWR - 20amp
| Swim Club Kiosk |  |  |  | PWR 1 - 20amp
PWR 2 - 20amp
PWR 3 - 20amp
Lights - 10amp
PWR 4 - 20amp
H/W & PWR - 20amp
| Main S/B |  |  |  | Middle Pole RCD - 20amp
Mid Pole RCD - 20amp
Mid Pole GPO - 10amp
Mid Pole GPO - 10amp
Far Pole GPO - 10amp
| Kiosk |  |  |  | Lights - 10amp
PWR - 20amp
PWR - 20amp
AC - 20amp
PWR - 20amp
PWR - 20amp
PWR - 20amp
Lights - 10amp
Spare - 20amp
| Swim Club Store Room |  |  |  | Lights - 10amp
Lights - 10amp
PWR - 20amp
PWR - 20amp
| Grandstand Lighting |  |  |  | Security Lights - 20amp
| Donga |  |  |  | CB2 - 63amp
| Far Pole |  |  |  | Security Lights - 20amp
Shed Power - 20amp
Bore Pumps | Bore Pump 5B - Gladstone Road |  | 6003.2482.0005 | 8 | CB3 - 16amp
| Bore Pump 7 -Tognolini Baldwin Road |  |  |  | CB3 - 16amp
| Bore Pump 8 - 32 Dakenba Road |  |  |  | CB3 - 16amp
| Bore Pump 9 - Jambin Dakenba Road |  |  |  | CB3 - 16amp
| Bore Pump 10 - 54 Dakenba Road |  |  |  | CB3 - 16amp
| Bore Pump 11 - 90 Jambin Dakenba Road |  |  |  | CB3 - 16amp
| Bore Pump 12 - DB1 - Dawson Highway |  |  |  | CB3 - 16amp
| Bore Pump 7D |  |  |  | CB3 - 16amp
Callide Dam Lake Callide Retreat Cabins | Cabin 1 - 2 Bedroom High | FAC107 | 7704.0107.0050 | 51 | RCD - 10amp
RCD- 20amp
RCD- 20amp
| Cabin 2 - Disabled |  |  |  | RCD-20amp
RCD- 10amp
RCD - 20amp
| Cabin 3 - Single Bedroom Front |  |  |  | Light - 10amp
PWR - 16amp
Stove - 32amp
HW - 16amp
AC - 20amp
AC - 20amp
32amp
AC - 20amp
| Cabin 4 - Single Bedroom Back |  |  |  | RCD- 10amp
RCD- 20amp
RCD - 20amp
| Cabin 5 - Double Bedroom Back |  |  |  | RCD - 10amp
RCD - 20amp
RCD - 20amp
GPO - 32A
| Main DB |  |  |  | Street LTS - 20amp
Spare - 20amp
| Caravan Outlets #1 |  |  |  | Outlet 1 - 16amp
LTS - 10amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
Outlet 5 - 16amp
Outlet 6 - 16amp
| Caravan Outlets #2 |  |  |  | Outlet 1 - 16amp
LTS - 10amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
Outlet 5 - 16amp
Outlet 6 - 16amp
| Caravan Outlets #3 |  |  |  | Outlet 1 - 16amp
LTS - 10amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Sewage - 20amp
Outlet 5 - 16amp
Outlet 6 - 16amp
| Caravan Outlets #4 |  |  |  | Outlet 1 - 16amp
LTS - 10amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
Outlet 5 - 16amp
Outlet 6 - 16amp
Callide Dam Lake Callide Retreat Office | SB |  |  | 29 | Power - 20amp
Power - 20amp
Light - 10amp
15A - Outlet - 32A
20amp
20amp
20amp
15A - Outlet - 32A
| Main S/B |  |  |  | Lights - 20amp
| Shed |  |  |  | 20amp
20amp
20amp
20amp
20amp
10amp
| Main Orange Switchboard |  |  |  | Lights - 20amp
Spare - 20amp
| Public Kitchen |  |  |  | PWR - 20amp
PWR - 20amp
PWR - 20amp
LTS - 10amp
15A - Outlet - 32A
| Public Laundry |  |  |  | Dryer - 20amp
Dryer - 20amp
Dryer - 20amp
PWR - 16amp
PWR - 16amp
HW - 20amp
LTS - 10amp
Callide Dam Recreational Area | 119 Lake Callide Drive | PK44 | 7204.0044.0050 | 11 | CB3 - 25amp
CB4 - 25amp
CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
CB6 - 10amp
| Toilet Block | FAC235 | 7104.0235.0050 |  | Power - 16amp
Lights - 10amp
Taggle Receiver
| Toilet Block 2 |  |  |  | PWR
LTS
Carpenters Shed | Depot | FAC175 | 7503.0175.0050 | 3 | RCD - 40amp
Safety Switch
GPO- 20amp
Civic Centre - 96 Rainbow Street | Toilet SB | FAC136 | 7403.0120.0050 | 55 | CB14 - 32amp
CB19 - 16amp
CB22 - 32amp
CB27 - 20amp
CB31 - 20amp
CB32 - 20amp
CB33 - 20amp
CB41 - 20amp
| DBB |  |  |  | CB11 - 16amp
CB15 - 20amp
CB17 - 20amp
CB19 - 20amp
CB21 - 20amp
CB23 - 20amp
| Kitchen Main S/B |  |  |  | CB6 - 32amp
CB8 - 32amp
CB10 - 32amp
CB12 - 32amp
CB 14 - 32amp
CB16 - 32amp
CB18 - 20amp
CB19 - 20amp
CB20 - 20amp
CB21 - 20amp
CB22 - 20amp
CB23 - 20amp
CB24 - 20amp
CB25 - 20amp
CB26 - 20amp
CB27 - 20amp
CB28 - 10amp
CB30 - 10amp
CB32 - 10amp
| Residence |  |  |  | CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
| DBSZ |  |  |  | CB5 - 20amp
CB6 - 20amp
CB13 - 32amp
| DBF |  |  |  | CB49 - 20amp
CB51 - 20amp
CB53 - 20amp
CB59 - 20amp
CB57 - 10amp
| Stage CB |  |  |  | CB2 - 32amp
CB7 - 20amp
CB9 - 20amp
CB10 - 32amp
CB11 - 20amp
CB13 - 20amp
CB15 - 20amp
CB17 - 20amp
CB19 - 20amp
CB21 - 20amp
CB23 - 20amp
Community Resource Centre | 102 Rainbow Street | FAC161 | 7403.0161.0050 | 13 | CB2 - 20amp
CB3 - 20amp
CB5 - 20amp
CB7 - 20amp
CB9 - 20amp
CB11 - 20amp
CB13 - 20amp
CB15 - 20amp
CB17 - 20amp
CB19 - 20amp
CB21 - 20amp
CB23 - 20amp
CB25 - 20amp
Council Depot | Auburn Street | FAC163 | 7503.0163.0050 | 30 | CB8 - 10amp | Main DB
CB10 - 20amp
CB12 - 20amp
CB14 - 20amp
CB16 20amp
CB19 -20amp
CB20 - 20amp
CB21 - 20amp EATON
[5 empty] | CB4 | Donga
[5 empty] | CB1 - 20amp | Concretors Shed
CB4 - 20amp
CB5 - 40amp
[5 empty] | 4P 40A | Sign Shed Main DB
[5 empty] | CB1 - 25amp | Sign Shed DB 1
[5 empty] | CB1 - 10amp | Toilet Block
CB2 - 20amp
[5 empty] | CB7 - 20amp | Archive Shed
CB9 - 20amp
CB12 - 20amp
CB14 - 10amp
CB16 - 16A
[5 empty] | CB1 - 16A | Fuel Bowsers
CB2 - 16A
[5 empty] | Safety Switch | Social Club
CB15 - 20A
[5 empty] | CB3 - 25amp | Stores
[5 empty] | Main Switch - 80amp | Sign Shed DB2
[5 empty] | PWR - 20amp | Wooden Storage Shed
Taylex - 16amp
LTS - 10amp
Dog Pound | Pound | FAC110 | 7503.0110.0050 | 4 | CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
| Donga |  |  |  | Donga RCD - 63amp
Jim Hooper Park - Public Amenities | Valley View Drive | FAC234 | 7103.0235.0050 | 2 | CB2 - 20amp
CB3 - 20amp
Land Protection Shed | 170 State Farm Road | FAC109 | 7503.0109.0050 | 4 | PWR - 20amp
PWR - 20amp
PWR - 20amp
Lights - 10amp
Lions Park - Lookerbie Street - Including Public Amenities | DB Shelter | PK15 | 7203.0015.0050 | 14 | Double BBQ - 16amp
2nd Shelter Single BBQ - 16amp
1st Shelter Single BBQ - 16amp
Double BBQ - 16amp
Single BBQ - 16amp
Walkway/Shelter Lights - 10amp
Shelter GPO - 16amp
| DB - Lions |  |  |  | Irrigation Pump & Ctrl - 20amp
RCD - 40amp
BBQ - 40amp
Park - 40amp
| DB - New Toilets | FAC230 | 7103.0230.0050 |  | PWR - 16amp
LGTS - 10amp
| DB - Old Toilets |  |  |  | Lights - 10amp
Magavalis Sports Club - Valentine Plains Road | Magavalis Netball Lights - DB-Tennis | FAC199 | 7603.0199.0050 | 38 | CB1, 3, 5, 7 - 25amp
CB2, 4, 6, 8 - 25amp
CB9, 11, 13, 15 - 25amp
CB10, 12, 14, 16 - 25amp
CB17, 19, 21, 23 - 25amp
CB25, 27, 29, 31 - 25amp
CB33 - 10amp
CB35 - 16amp
CB37 - 16amp
CB39 - 16amp
CB41 - 16amp
CB43 - 16amp
CB45 - 10amp
CB59 - 20amp
| Magavalis Sports Complex - DB-Netball |  |  |  | 32amp
32amp
32amp
32amp
32amp
16amp
16amp
10amp
10amp
20amp
32amp
32amp
| Netball Canteen |  |  |  | AC - 20amp
PWR - 20amp
LGT - 10amp
PWR - 20amp
PWR - 20amp
15amp - GPO - 32amp
15amp - GPO - 32amp
LGT - 10amp
PWR - 20amp
PWR - 20amp
| Netball Shed |  |  |  | PWR - 20amp
LTS - 10amp
| Cricket Club | FAC201 | 7603.0201.0050 | 9 | 15amp - GPO - 20amp
15amp - GPO - 20amp
15amp - GPO - 20amp
AC - 20amp
| Cricket Nets |  |  |  | GPO - 20amp
GPO - 20amp
Light Control - 10amp
| Cricket Security Pole |  |  |  | PWR - 16amp
GPO - 20amp
| BMX CLUB | FAC200 | 7603.0200.0050 | 7 | PWR - 20amp
PWR - 20amp
PWR - 20amp
PWR - 20amp
LTS - 10amp
Spare - 10amp
CB* - 20amp
| Public Amenities | FAC229 | 7103.0229.0050
Melton Park Public Amenities | Grevillea Street | FAC233 | 7103.0233.0050 | 2 | RCD A - 40amp
RCD B - 40amp
Public Amenities - Bicentennial | Callide Street | FAC231 | 7103.0237.0050 | 2 | CB1 - 20amp
CB2 - 10amp
Public Amenities - School of Arts | Kariboe Street | FAC228 | 7103.0228.0050 | 2 | CB1 - 20amp
CB2 - 10amp
SES Shed | DB/1 | FAC120 | 7403.0120.0050 | 34 | CB1 - 20amp
CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
CB5 - 20amp
CB6 - 20amp
CB7 - 20amp
CB8 - 20amp
CB 9 - 20amp
CB10 - 20amp
CB11 - 20amp
CB12 - 20amp
CB13 - 20amp
CB14 - 20amp
CB15 - 20amp
CB20 - 20amp
CB21 - 25amp
CB23 - 32amp
CB24 - 32amp
CB25 - 10amp
CB26 - 10amp
CB27 - 10amp
CB28 - 10amp
CB29 - 10amp
CB30 - 10amp
CB31 - 10amp
CB32 - 10amp
| D/B 2 |  |  |  | CB2 - 20amp
CB3 - 10amp
| D/B 3 |  |  |  | CB3 - 20amp
CB4 - 20amp
CB5 - 20amp
CB6 - 20amp
CB7 - 10amp
Sewerage Stations | 25-31 Dunn Street |  | 6503.2482.0005 | 15 | Station 16
| Hills Avenue |  |  |  | Station 8
| Valentine Plains Road (at Playgroup) |  |  |  | Station 9
| Valentine Plains Road (at After School Care Building) |  |  |  | Station 10
| Wahroonga |  |  |  | Station 11
| Wahroonga |  |  |  | Station 12
| 52 Dawson Highway |  |  |  | Station 13
| Cnr Exhibition Ave and Raedon St |  |  |  | Station 14
| Raedon St |  |  |  | Station 15
| Callide Street Park |  |  |  | Station 1
| Cnr Dawson Highway and Valley View Drive |  |  |  | Station 3
| Dawson Highway |  |  |  | Station 4
| Lawrence Street |  |  |  | Station 5
| 28 Archer Street |  |  |  | Station 6
| 24 Joe Kooyman Drive |  |  |  | Station 7
Sewerage Treatment Plant | Shed | STP2 | 6503.2482.0005 | 28 | CB7 - 20amp - 30mA
CB8 - 20amp - 30mA
CB9 - 10amp
| Workshop |  |  |  | CB4 - CB5 - 32amp
CB6 - CB7 - 20amp
CB7 -CB8 - 10amp
CB9 - CB10 - 20amp
CB11 - CB12 - 20amp
CB13 - CB14 - 32amp
| Workshop Donga |  |  |  | CB2 - 40amp
| Workshop - Recycle Control Box |  |  |  | 10amp - 30mA
10amp - 30mA
CB - 20A
| Workshop - Laundry |  |  |  | CB 2-3 - 20amp
CB 6-7 - 20amp
| Workshop - Pressure Control Box |  |  |  | 10apm - 30mA
| Lab |  |  |  | CB3 - 20amp - 30mA
CB5 - 20amp - 30mA
CB7 - 10amp - 30mA
CB9 - 20amp - 30mA
| Switchroom |  |  |  | CB9 - 20amp - 30mA
CB11 - 20amp - 30mA
CB13 - 20amp - 30mA
CB15 - 20amp - 30mA
| DB3 |  |  |  | Safety Switch
CB10 - 20amp - 1 pole
| DB2 |  |  |  | CB1 - 4 40amp - 30mA - 4 pole
| DB1 |  |  |  | CB1 - 4 40amp - 30mA - 4 pole
State Farm Road Flats | 167 State Farm Road | FAC210 | 7303.0210.0050 | 10 | Power - 20amp | Flat One
Light - 10amp
Power - 20amp
Power - 20amp
Septic - 20amp
[5 empty] | Power - 20amp | Flat Two
Power - 20amp
Light - 10amp
Septic - 20amp
AC -16amp
DUNN STREET FACILITIES | Cottage | FAC212 | 7303.0212.0050 | 4 | CB1 - 20A - GPO
CB6 - 20A - GPO
CB7 - 20A - GPO
CB8 - 10A - LGT
| Stores | FAC224 | 7503.0224.0050 | 15 | CB1 - 32A - SHED | Office
CB3 - 20A - PWR
CB4 - 16A - LGT
CB5 - 20A - PWR
CB7 - 20A - PWR
CB8 - 10A - LGT
CB9 - 20A - PWR
CB10 - 10A - PWR
CB11 - 20A - PWR
CB12 - 10A - LGT
CB13 - 20A - PWR
CB15 - 20A - PWR
CB17 - 20A - PWR
CB19 - 20A - PWR
CB21 - 20A - PWR
| Workshops | FAC223 | 7503.0223.0050 | 31 | CB12 - 20A - GPO | D/B 2
CB14 - 32A - GPO
CB16 - 32A - GPO
CB18 - 32A - GPO
CB20 - 32A - GPO
CB22 - 32A - GPO
CB24 - 32A - GPO
CB28 - 10A - FANS
CB26 - 32A - GPO
[5 empty] | CB14 - 32A - GPO | D/B 3
CB16 - 32A - GPO
CB18 - 32A - GPO
CB20 - 32A - GPO
CB22 - 32A - GPO
CB24 - 32A - GPO
CB26 - 20A - GPO
CB28 - 10A - LGT
CB30 - 10A - FANS
[5 empty] | CB15 - 20A - GPO | Shed 1
CB16 - 32A - GPO
CB17 - 32A - GPO
[5 empty] | CB7 - 32amp - GPO | SB 2
CB9 - 20amp - GPO
CB14 - 20amp - GPO
[5 empty] | CB4 - 20amp - GPO | SB 1
CB6 - 20A - GPO
CB8 - 10A - LGT
CB13 - 32A - GPO
CB19 - 20A - GPO
CB23 - 16A - GPO
CB24 - 16A - GPO
| JJ Richards Donga | FAC222 | 7503.0222.0050 | 1 | CB2 - 40A - SAFETY | JJ Richards Donga
| Waste Donga | FAC221 | 7503.0221.0050 | 2 | CB2 - 40A - SAFETY | Waste Donga
CB4 - 10A - LGT
| Auction Centre | FAC225 | 7503.0225.0050 | 30 | CB23 - 20A - GPO | Main Switchroom
[5 empty] | CB4 - 16A - PWR | Office
CB5 - 20A - PWR
CB9 - 20A - PWR
CB10 - 20A - PWR
[5 empty] | CB1 - 16A - Mixed | Toilet Block
CB2 - 32A - Toilet
CB3 - 230A - Pump
[5 empty] | CB2 - 20A - PWR | Garden Shed
[5 empty] | CB1 - 32A - GPO | Auction Bay Workshop
CB2 - 32A - GPO
CB3 - 32A - GPO
CB4 - 20A - Fan
CB5 - 32A - GPO
CB6 - 32A - GPO
CB7 - 20A - Fan
CB8 - 32A - GPO
CB9 - 32A - GPO
CB10 - 32A - GPO
CB11 - 32A - GPO
CB13 - 32A - GPO
CB14 - 32A - GPO
CB15 - 32A - GPO
[5 empty] | CB4 - 20amp | Drive through - SB
CB5 - 20amp
CB8 - 32amp
CB9 - 32amp
CB10 - 20amp
CB11 - 20amp
CB12 - 20amp
Tom Dawson Park - Including Public Amenities | Heaton Street | PK15 | 7203.0015.0050 | 1 | RCD - 40amp
Transfer Station | Transfer Station | FAC169 | 7503.0169.0050 | 8 | CB5 - 20amp
CB6 - 20amp
Secuirty Lts - 10amp
| Main Switchboard |  |  |  | GPO - 20amp
Pump - 20amp
| Cardboard Shed |  |  |  | PWR - 32amp
PWR - 20amp
Crusher - 16amp
Transit Accommodation - Halberstater Close | Transit Accommodation - Complex B | FAC124 | 7303.0124.0050 | 28 | AC - 20amp
Light - 10amp
Light - 10amp
Power - 20amp
Power - 20amp
Power - 20amp
AC - 20amp
AC - 20amp
AC - 20amp
| Transit Accommodation - Complex A |  |  |  | Power 1 - 20amp
Power 2 - 20amp
Power 3 - 20amp
Power 4 - 20amp
AC - 20amp
GPO - 15amp
AC - 20amp
AC - 20amp
| Transit Accommodation - Complex B - Rooms 5 & 6 |  |  |  | CB3 - 20amp
CB4 - 20amp
CB5 - 10amp
CB6 - 20amp
CB7 - 20amp
CB10 - 20amp
CB11 - 10amp
CB12 - 20amp
CB13 - 20amp
CB14 - 20amp
CB15 - 10amp
| Transit Accommodation - Park View 1 | FAC213 | 7303.0213.0050 | 4 | Power - 20amp
Power - 20amp
Light - 10amp
Light - 10amp
| Transit Accommodation - Park View 2 | FAC214 | 7303.0214.0050 | 4 | Power - 20amp
Power - 20amp
Light - 10amp
Light - 10amp
Trap Gully | MSB | FAC170 | 3915.2380.0004 | 16 | Fuel Shed - 25amp
PWR - 20amp
| Generator |  |  |  | Main C/B - 40amp
Outlet 2 - 16amp
Outlet 3 - 10amp
| Fuel Shed |  |  |  | Light - 20amp
PWR - 20amp
| Weighbridge |  |  |  | 40amp - 2 Pole
| Crib Room |  |  |  | Lights - 10amp
PWR - 20amp
HWS - 16amp
A/C - 1 - 16amp
Office - 20amp
A/C 2 - 16amp
PWR - 20amp
Stove - 32amp
Truck Washdown Bay | Quarrie Road | FAC76 | 7503.0076.0050 | 1 | Q78526 - 10amp
Water Reservoir (Pump Station) | State Farm Road | WPS3 | 6003.2482.0005 | 18 | CB1 - 20amp
CB2 - 20amp
CB9 - 20amp
CB10 - 16amp
3 Pole - 40amp
| Chlorine & Fluoride Dosing Cabinet |  |  |  | Q11411 - 16amp
Q11421 - 6amp
Q11431 - 10amp
Q11501 - 6amp
Q11511 - 6amp
Q115121 - 6amp
Q11531 - 16amp
Q11541 - 16amp
Q11551 - 10amp
Q11601 - 10amp
Q1161 - 16amp
Q11621 - 6amp
Q14508 - 10amp
Water Treatment Plant | Light & Power BWTP DB03 | WTP2 | 6003.2482.0005 | 39 | CB14 - 20amp - 30mA
CB16 - 20amp - 30mA
CB18 - 20amp - 30mA
CB20 - 10amp - 30mA
CB22 - 20amp - 30mA
CB44 - 20amp - 30mA
CB46 - 10amp
| Process DB BWTP DB01 |  |  |  | CB1 - 6amp - 30mA
CB2 - 6amp - 30mA
CB3 - 6amp - 30mA
CB4 - 6amp - 30mA
CB5 - 6amp - 30mA
CB19 - 6amp - 30mA
CB20 - 20amp - 30mA
CB21 - 6amp - 30mA
CB22 - 6amp - 30mA
CB23 - 6amp - 30mA
CB26 - 20amp - 30mA
| Office |  |  |  | CB4 - 20amp - 30mA
CB5 - 20amp - 30mA
CB6 - 16amp - 30mA
| PAC Building BWTP DB02 |  |  |  | CB2 - 10amp - 30mA
CB4 - 10amp - 30mA
CB6 - 10amp - 30mA
CB7 - 20amp - 30mA
CB8 - 10amp - 30mA
CB9 -10amp - 30mA
| Chlorine Shed |  |  |  | 471520 - Omni Valve | Test & Tag
[5 empty] | 471521 - Omni Valve | Test & Tag
[5 empty] | 471522 - Hoist | Test & Tag
[5 empty] | 471524 - Vent Fan Motor | Test & Tag
[5 empty] | 471525 - Hydra Sentiner | Test & Tag
| Polyacrylamide Dosing Shed |  |  |  | 471526 - Dosing Pump | Test & Tag
[5 empty] | 471527 - Stirrer Motor | Test & Tag
| Pump House |  |  |  | 471528 - Filtered Water Pump | Test & Tag
[5 empty] | 471529 - Water Pump | Test & Tag
[5 empty] | 471530 - Analyse Re-Use Control | Test & Tag
[5 empty] | 471531 - Analyse Re-Use Pump | Test & Tag
[5 empty] | 471532 - Treated Water Control | Test & Tag
[5 empty] | 471533 - Post PH Pump | Test & Tag
[5 empty] | 471534 - Treated Water Pump | Test & Tag
[5 empty] | 471535 - Micro Processor Control | Test & Tag
[5 empty] | 471536 - LH Micro Processor Control | Test & Tag
| Raw Water Pump Station |  |  |  | CB2 - 16amp
CB4 - 16amp
CB6 - 16amp
CB7 - 6amp
CB8 -16amp
CB9 - 6amp
CB10 - 6amp
CB11- 10amp
CB12 - 10amp
CB14 - 16amp
CB16 - 6amp
CB18 - 16amp
| Storage Container |  |  |  | 471523 - Sump Pump | Test & Tag
811
THANGOOL
Thangool Aerodrome - 42 Aerodrome Road | Caravan Sites 1 to 6 | FAC191 | 7511.0191.0050 | 45 | Caravan Site 1:
Outlet 1 - 16amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
Caravan Site 2:
Outlet 1 - 16amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
Caravan Site 3:
Outlet 1 - 16amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
Caravan Site 4:
Outlet 1 - 16amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
Caravan Site 5:
Outlet 1 - 16amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
Caravan Site 6:
Outlet 1 - 16amp
Outlet 2 - 16amp
Outlet 3 - 16amp
Outlet 4 - 16amp
| Fly In Caravan S/B |  |  |  | Power 1 - 32amp
Power 2 - 32amp
Power 3 - 32amp
Power 4 - 32amp
Power 5 - 32amp
Power 6 - 32amp
S/B GPO - 16amp
Pole Light - 10amp
| Old Shed |  |  |  | Safety Switch - 25amp
PWR - 20amp
PWR - 20amp
| Main Switchboard |  |  |  | Safety Switch - 63amp
| Sub Board |  |  |  | Septic Power - 16amp
Bridgeway GPO - 20amp
4p 32a rcd
Security Cameras
Toilet Power - 20amp
Power - 20amp
Power - 20amp
| Toll Office |  |  |  | AC 10amp
Safety Switch - 40amp
Public Amenities - Thangool & District Memorial Park | Burnett Highway | FAC249 | 7111.0249.050 | 4 | Safety Switch - 40amp
Lights - 10apm
Taggle Receiver - 20A
Hand Dryer - 20amp
Tollemaches Road | Residence | FAC115 | 7311.0115.0050 | 23 | Lights - 10amp
PWR 1 - 16amp
PWR 2 - 20amp
PWR 3 - 20amp
PWR 4 - 20amp
PWR 5 - 20amp
PWR 6 - 20amp
PWR 7 - 20amp
Lights - 10amp
Pump GPO - 20amp
Light - 10amp
Oven - 32amp
Air Cooler - 16amp
| Workshop |  |  |  | AC - 16amp
Office - 10amp
Shed - 16amp
Pump - 20amp
Office - 20amp
Single Roller Shed - 20amp
GPO - 15amp
Far Roller Doors
PWR - 20A
PWR - 20A
Thangool Pump Station | Bore Pump | WPS11 | 6011.2386.0005 | 2 | CB1 - 16amp
CB4 - 20amp
74

## Moura - Baralaba - Banana
PREMISES | ADDRESS | Asset ID | Job No. for Accounts | NO. | Circuit Breaker No. | Switchboards | MAINTENANCE & SERVICE TARGETS - COSTING BREAKDOWN
[7 empty] | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS
BANANA
Banana Park | Leichhardt Highway | PK2 | 7201.0002.0050 | 2 | LTS 10A | Main
PWR
Public Toilets (Dawson Highway) | Next to Sutherland Hall | FAC152 | 7101.0152.0050 | 2 | 16A CB
[5 empty] | 10A CB | Main
Town Reservoir | Herbert Street (end) | TWS23 | 6001.2482.0005 | 20 | Q4 - 16amp | Main
Q5
Q6
Q7
Q8
Q9
Q10
Q11
Q12
Q14
Q21
Q14308
Q14310
Q14312
Q14314
Q14316
Q14318
Q14326
Q14328
RCD
24
MOURA
Banana Booster Pump | Dawson Highway | TWS16 | 6009.2382.0005 | 2 | Safety Switch | Main
Analyser Red
Reservoir | Burnham Street (behind Pool) | TWS15 | 6009.2382.0005 | 7 | CB3 | Main
[5 empty] | CB6 | DB 1
CB8
CB10
[5 empty] | CB - 16amp | Generator
CB - 16amp
CB - 16amp
Sewerage Pump |  | MOU-SPS1 | 6509.2482.0005 | 2 | GPO RCD 2
GPO RCD
Raw Water Pump Station | Dawson River | WPS7 | 6009.2382.0005 | 3 | CB1 | MSB
CB3
[5 empty] | CB1 - 20A | Generator
Sewerage Treatment Plant | Davey Street | STP3 | 6509.2482.0005 | 17 | Q3206 | Distribution Feeder
Q3215
Q3224
[5 empty] | 2B - Q3022 | MCC Distribution Board
3B - Q3036
8R - Q3118
8W - Q3122
9W - Q3136
10W - Q3202
11B - Q3211
13R - Q3220
5R
[5 empty] | GPO 20amp | GCC Solar SB
[5 empty] | Q3327 | PLC Cubicle
[5 empty] | PWR20A | 70 Davey st
PWR20A
LGTS 10A
Water Treatment Plant | Dawson Highway | WTP3 | 6009.2382.0005 | 59 | CB2 | Office
[5 empty] | CB1 | Workshop
[5 empty] | Q11411 | Lab Control Room
Q11421
Q11431
Q11501
Q11511
Q11521
Q11531
Q11541
Q11551
Q11601
Q11611
Q11621
Q14518
[5 empty] | CB5 | Chlorine Shed
CB6
[5 empty] | CB7 | Chemical Dosing Shed
[5 empty] | CB8 | Chemical Dosing Shed
CB9
CB10
CB11
CB14
CB15
CB16
CB17
CB18
CB19
CB20
CB21
CB22
CB24
[5 empty] | PWR - 20A | Process Control Room - Downstairs DB
PWR - 20A
PWR - 20A
[5 empty] | CB2 | Process Control Room - Upstairs DB
CB3
CB13
CB14
CB15
CB18
CB19
[5 empty] | Q6 | Control Building - PLC CTRL Board
Q7
[5 empty] | CB3 | Backwash Pump Shed
CB5
CB6
[5 empty] | CB1 | Generator
[5 empty] | CB3 | Crib Room
CB4
CB5
CB6
CB7
CB8
CB9
[5 empty] | CB4 - 20amp | Town Pump shed
[5 empty] | PWR - 20A | Truck Wash
LTS - 16A
LTS - 16A
Moura Council Depot | Davey Street | FAC177 | 7509.0177.0050 | 10 | RCD | Office
[5 empty] | PWR 1 | Toilets
PWR 2
Lights
[5 empty] | CB1 | Crib Room
CB2
[5 empty] | PWR 1 | Work Shed
PWR 2
Lights
[5 empty] | RCD | Storage Shed
Moura Council Admin & Youth Centre | Gillespie Street | FAC118 | 7509.0118.0050 | 4 | PWR 1
PWR 2
PWR 3
Lights
Lions Park | Bell Street | FAC241 | 7109.0241.0050 | 7 | PWR | Public Toilets
Lights
|  | PK27 | 7209.0027.0050 |  | CB2 | BBQ Area
CB3
CB4
CB5
CB6
Rotary Park | Dawson Highway | PK25 | 7209.0025.0050 | 5 | BBQ | Main
Rotunda
Septic
Lights
Lights
Library | McArthur Street | FAC142 | 7409.0142.0050 | 4 | CB9 - 10A | Main
CB10 - 10A
CB11 - 20A
CB12 - 20A
Public Amenities (main street) | Gillespie Street | FAC240 | 7109.0240.0050 | 2 | PWR | Main
Lights
SES - Old Building | Dawson Highway | FAC103 | 7409.0103.0050 | 1 | GPO RCD | Main
SES - New Building |  |  |  | 5 | CB3 | MSB
CB4
[5 empty] | CB2 | DB 1
CB3
[5 empty] | PWR - 20A | Office
Historical Society | Gillespie Street | FAC141 | 7409.0141.0050 | 3 | PWR - 20A
PWR - 20A
Lights - 10A
Depot House | 70 Davey Street | FAC112 | 7309.0112.0050 | 3 | PWR 20A | Main
PWR 20A
LGTS 10A
Kianga Hall | McArthur Street | FAC143 | 7409.0143.0050 | 18 | CB23 - 20A | Main
CB25 - 20A
CB27 - 20A
CB29 - 20A
CB31 - 20A
CB33 - 20A
CB35 - 20A
CB37 - 20A
CB39 - 20A
CB41 - 20A
CB43 - 20A
CB45 - 20A
CB47 - 20A
CB49 - 20A
CB51 - 20A
CB55 - 20A
CB57 - 20A
CB59 - 20A
Recreation Reserve |  |  |  |  | PWR | Main
Moura Swimming Pool | Davey Street | FAC180 | 7609.0180.0050 | 21 | CB2 | Kiosk
CB4
CB6
CB7
CB8
CB9
CB10
CB11
CB12
[5 empty] | CB2 | Store Room
CB4
CB6
CB8
CB10
CB12
CB14
CB16
[5 empty] | CB37 | Plant Room
CB38
CB22
CB23
Transfer Station | Dawson Highway | FAC72 | 7509.0072.0050 | 7 | CB4 | Office
CB8
[5 empty] | GPO RCD | MSB
Pump
PWR
[5 empty] | CB2 | Transfer Station
CB3
Aerodrome | Theodore-Baralaba Road | FAC176 | 7509.0176.0050 | 3 | PWR | Amenities Block
LTS
[5 empty] | CB6 - 20A - GPO | Sub Board
183
BARALABA
Washdown Bay | Baralaba Rannes Road | FAC77 | 6002.2482.0005 | 2 | PWR - 20A | Main
LTS - 16A
Booster Pump/Baralaba Reservoir | Beside Depot | TWS1 | 6002.2482.0005 | 4 | CB7 - 16A | Main
CB8 - 16A
CB9 - 16A
CB11 - 16A
Water Treatment Plant |  | WTP1 | 6002.2482.0005 | 15 | CB1 - 20A - A/C | Crib Room
CB2 - 10A - LGT
CB3 - 20A - Pump CTRL
CB5 - 20A - PWR
CB6 - 20A - PWR
Comms Board - 20A
[5 empty] | CB1 - 63A - RCD | Lab
[5 empty] | CB2 - 10A - LGT | Compressor Shed
CB3 - 20A - PWR
CB4 - 20A - PWR
CB5 - 20A - PWR
[5 empty] | CB9 - 40A - RCD | Dosing Shed
[5 empty] | CB35 - 20A - UPS | Main Switchroom
CB44 - 10A - GPO
CB47 - 20A - UPS
Depot | Wooroonah Road | FAC154 | 7502.0154.0050 | 2 | CB5 - 40A - RCD | Main
CB6 - 10A - LGT
Playgounp | Stopford Street (beside RSL) | FAC268 | 7402.0268.0050 | 2 | 40A
20A
SES |  | FAC134 | 7402.0134.0050 | 1 | 40A - RCD
RSL Hall - Public Toilets | Stopford Street | FAC227 | 7102.0227.0050 | 1 | CB5 - 40A - RCD | Main
RSL Hall | Stopford Street | FAC155 | 7402.0155.0050 | 14 | CB2 - 16A - HWS | Main
CB4 - 20A - PWR
CB5 - 20A - SHED
CB6 - 20A - PWR
CB7 - 20A - Taylex
CB8 - 20A - PWR
CB9 - 20A - PWR
CB10 - 10A - LGT
CB11 - 20A - PWR
CB12 - 20A - LGT
CB13 - 10A - LGT
CB14 - 10A - LGT
CB1 5- 20A - PWR
CB16 - 20A - A/C
Riverbank Park | Dawson River Park Area | PK48 | 7702.0048.0050 | 10 | CB2 - 20A - PWR | D/B
CB3 - 20A - PWR
CB4 - 20A - PWR
CB5 - 10A - LGT
CB6 - 10A - LGT
CB7 - 10A - LGT
CB8 - 20A - PWR
CB9 - 20A - PWR
CB10 - 32A - BBQ
[5 empty] | 40A - RCD | Toilet D/B
Showgrounds | Wooroonah Road | FAC157 | 7602.0157.0050 | 42 | 20A - Taylex | Caravan Waste disposal Dump Point
[5 empty] | CB2 - 10A | Far Toilet
CB3 - 16A
[5 empty] | CB1 - 40A - RCD | Caretakers Shed
[5 empty] | 20A - PWR | Bar
20A - Cold Room
20A - Freezer
20A - PWR
20A - PWR
20A - PWR
20A - Pump
20A - PWR
20A - PWR
32A
20A
20A
[5 empty] | 10A | Caretakers Donga
16A
[5 empty] | 20A - GPO | MSB
20A - Toilet
[5 empty] | PWR - 20A | D/B 1
RCD - 40A
[5 empty] | CB1 - 20A - GPO | D/B 2
CB2 - 20A - GPO
CB3 - 20A - GPO
CB4 - 20A - GPO
CB5 - 20A - GPO
CB6 - 20A - GPO
[5 empty] | 40A Safety Switch | D/B 3
[5 empty] | PWR - 20A | D/B 4
PWR - 20A
[5 empty] | CB2 - 16A | Yard D/B 1
CB3 - 16A
[5 empty] | CB2 - 16A | Yard D/B2
CB3 - 16A
CB4 - 16A
[5 empty] | 20A | Yard D/B 3
20A
20A
20A
20A
10A
93

## Taroom - Theodore - Cracow
PREMISES | ADDRESS | Asset ID | Job No. for Accounts | NO. | Circuit Breaker No. | Switchboards | MAINTENANCE & SERVICE TARGETS - COSTING BREAKDOWN
[7 empty] | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS
THEODORE
Theodore Sewerage Treatment Plant |  | STP4 | 6512.2482.0005 | 34 | CB2
CB3
CB4
CB5
CB6
CB7
CB8
CB9
CB10
CB11
CB12
CB13
CB14
CB15
CB16
CB17
CB18
CB19
CB20
CB22
CB36
CB38
CB40
CB41
CB42
CB51
CB52
[5 empty] | LTS | Truck Wash Down Bay
PWR
Sump GPO
[5 empty] | Q20404 | PLC Cabinet
Q20508
Q20510
Q20512
Q20514
Sewerage Pump 3 |  | THE-SPS3 | 6512.2482.0005 | 1 | CB1 | Main
Sewerage Pump 2 |  | THE-SPS2 | 6512.2482.0005 | 1 | CB1 | Main
Sewerage Pump 1 |  | THE-SPS1 | 6512.2482.0005 | 1 | CB1 | Main
Raw Water Pump |  | WPS12 | 6012.2482.0005 | 1 | CB2 | Main
Water Reservoir |  | TWS7 | 6012.2482.0005 | 3 | PWR | D/B 1
Lights
[5 empty] | SB GPO | D/B 2
Junction Park - including Public Amenities |  | PK37 | 7212.0037.0050 | 12 | PWR 5 | Main
PWR 6
PWR 7
PWR 8
PWR 9
|  | FAC253 | 7112.0253.0050 |  | GPO - 20amp | Toilets
HWS - 20amp
HWS - 20amp
Pump - 20amp
Lights - 10amp
Lights - 10amp
Hand Dryer - 16amp
SES (New Building) |  | FAC121 | 7412.0121.0050 | 18 | CB1 | Main SB
CB2
CB3
CB4
CB5
CB6
CB7
CB8
CB9
CB10
CB11
CB12
CB13
CB15
CB17
CB19
CB21
CB23
Cb23
RSL |  | FAC194 | 7412.0194.0050 | 19 | PWR - 20amp | Bar
[5 empty] | PWR - 20amp | Kitchen
[5 empty] | PWR - 20amp | Kitchen and Ticket Box
Lights 10amp
[5 empty] | PWR - 20amp | Auditorium Front
[5 empty] | GPO - 20amp | Auditorium Back and Rainwater
[5 empty] | Lights - 20amp | Stage Front Row
[5 empty] | Lights - 20amp | Stage 2nd Row
[5 empty] | Lights - 20amp | Stage 3rd Row
[5 empty] | Lights - 20amp | Stage Back Row
[5 empty] | Lights - 20amp | Bar
[5 empty] | PWR - 10amp | Male Dressing Room
[5 empty] | PWR - 10amp | Female Dressing Room
[5 empty] | Lights - 10amp | Kitchen and Ticket Box
[5 empty] | Lights - 10amp | Auditorium Lights
[5 empty] | Lights - 10amp | Auditorium Lights
[5 empty] | Lights - 10amp | Emergency Lights
[5 empty] | PWR - 20amp | Male Dressing Room and Stage
[5 empty] | PWR - 20amp | Female Dressing Room and Stage
[5 empty] | PWR - 10amp | Fans
Public Amenities - Tennis Courts | Eastern Lane | FAC250 | 7112.0250.0050 | 2 | PWR | Main
Lights
Water Treatment Plant |  | WTP5 | 6012.2482.0005 | 6 | PWR 1 - 20amp | Main D/B
PWR 2 - 20amp
PWR 3 - 20amp
[5 empty] | Safety Switch | Shed DB
[5 empty] | Safety Switch | Office
[5 empty] | PWR 1 | Truck Wash Control DB
Theodore Depot |  | FAC98 | 7512.0098.0050 | 14 | Safety Switch | First D/B
[5 empty] | PWR | Shed D/B
Lights
Mixed
PWR
[5 empty] | PWR | Office DB 1
AC
Lights
[5 empty] | PWR | Office DB 2
AC
Lights
[5 empty] | Safety Switch 1 | Shed MSB
Safety Switch 2
[5 empty] | Safety Switch | Toilets
Aerodrome |  | FAC113 | 7312.0113.0050 | 1 | Safety Switch | House
|  | FAC192 | 7512.0192.0050 | 1 | CB2-40a | Main
|  |  |  | 4 | CB2 -40A | Shelter
CB3
CB4
CB5
Nevellile Hewitt Park |  | PK38 | 7212.0038.0050 | 1 | Safety Switch | Main - Bull Ring
119
Cracow
Bore Pump |  | TWS17 | 6005.2482.0005 | 1 | Fuse | Main
Public Amenities George Hamilton Park |  | FAC236 | 7105.0236.0050 | 2 | CB2 | Main
CB3
Channel 5 Repeater |  |  |  | 1 | CB2 - PWR 20a | Main
4
Taroom
Water Reservoir & Pumps | Cranmer Street | WTP4 | 6010.2482.0005 | 16 | RCD | Office
[5 empty] | CB2 | Chlorine Shed
CB3
CB4
[5 empty] | CB14 | Pump Shed
CB16
CB18
CB20
[5 empty] | CB1 - 10A | Donga Lab
CB2 - 10A
CB3 - 10A
CB4 -220A
CB5 - 20A
CB6 - 20A
[5 empty] | Dosing Pumps | General Area
Raw Water Tank
Showgrounds - including Caretakers Residence |  | FAC188 | 7610.0188.0050 | 128 | LTS - 10A
PUMP-20A
PWR - 20A
PWR 20A
PWR - 20A
RCD -63A
SAFETY SWITCH - 40A
PWR1-16A
PWR 2 - 16A
PWR3 - 16A
PWR4 -16A
PWR 5 - 16A
PWR 6 - 16A
PWR 7 - 16A
PWR 8 - 16A
RCD - 63A
PWR 1 - 20A
PWR 2 - 20A
PWR3 - 20A
PWR4 - 20A
PWR5 - 20A
PWR6 - 2A
PWR7 - 20A
PWR8 - 20A
PWR9 - 20A
PWR1 - 16A
PWR2 - 16A
PWR3 -16A
PWR4 - 216
PWR5 - 16A
PWR6 - 16A
PWR7 - 16A
PWR8 - 16A
PWR9 - 16A
CB- 40A
RCD -40A
OUTLETS B -32A
OUTLETS1 -32A
OUTLETSD - 32A
OUTLETS E - 32A
PWR 1 - 20A
PWR2 - 20A
PWR1 -20A
PWR2 -20A
CB1 -16A
CB2- 16A
CB3 - 16A - GPO
CB4 - 16A - GPO
CB5 - 16A - GPO
CB6 - 16A - GPO
CB7 - 16A
CB8 - 16A
AC - 16A - 30MA
PWR -20A
PWR16A
PWR 1- 16A
PWR 2 -16A
PWR3 - 16A
PWR4-16A
PWR5 - 16A
PWR6 - 16A
PWR7 16A
LGT - 10A
PWR8 - 16A
PWR1 -20A
PWR2 - 20A
PWR1 - 20A
PWR2 - 40A
PWR1 - 20A
PWR2 -20A
CB1 - 40A
CB2 - 40amp
RCD1 - 20A
RCD2 - 20A
RCD3 - 20A
RCD4 - 20A
CB2 -20A
CB3 - 20A
CB3- 20A
RCD1 - 20A
RCD1 -63A
CB1 - 20A
CB2 - 20A
CB3 - 20A
CB4 - 16A
CB5 -10A
RCD-40A
RCD1 -40A
RCD1-40A
RCD2 -16A
CB1- 20A
CB2 - 20A
CB3 - 20A
CB4 - 20A
CB5 - 20A
CB6 -20A
CB7 -20A
CB8 - 20A
CB9 - 20A
CB10 - 20A
CB1 - 40A
CB2 - 40amp
PWR1 - 63A
RCD-63A
RCD - 40A
RCD - 63A
RCD - 40A
RCD - 40A
RCD - 63A
RCD1 - 63A
CB10 - 20A
CB12 - 20A
RCD1 - 20A
RCD2 - 20A
RCD3 - 20A
SAFETY SWITCH - 40A
SAFETY SWITCH - 40A
RCD1 - 40A
RCD2 - 20Q
RCD3 - 20A
RCD4 - 20A
RCD5 - 63A
RCD6 - 40A
RCD -63A
RCD1 - 63A
RCD2 - 63A
RCD3 - 63A
Football Fields |  | FAC87 | 7610.0087.0050 | 13 | RCD - 40a | Main D/B
[5 empty] | RCD - 40a | D/B 1
[5 empty] | RCD - 40a | D/B 2
[5 empty] | RCD - 40a | D/B 3
[5 empty] | RCD - 40a | D/B 4
[5 empty] | PWR- 20A | LDB 1
[5 empty] | PWR- 20A | LDB 2
[5 empty] | PWR- 20A | LDB 3
PWR
PWR
PWR
PWR
[5 empty] | PWR | LDB 4
Saleyards - including Public Amenities |  | FAC187 | 7510.0187.0050 | 5 | RCD | Office
[5 empty] | PWR | D/B 1
[5 empty] | RCD | Amenities Block
[5 empty] | RCD- 40a | Loading Ramp DB
GPO
Taroom Washdown Bay |  | FAC78 | 7510.0078.0050 | 2 | LGT | Main D/B
PWR & LGT
Taroom Lions Park - including Public Amenities |  | FAC248 | 7110.0248.0050 | 4 | SAFETY SWITCH - 40A | Public Amenities
|  | PK32 | 7210.0032.0050 |  | LTS - 10A | Lions Park
LTS - 40A
HWS - 20A
Sewerage Pump Station 1 |  | TAR-SPS1 | 6510.2482.0005 | 1 | GPO | Pump 1
Sewerage Pump Station 2 |  | TAR-SPS2 | 6510.2482.0005 | 1 | GPO | Pump 2
Sewerage Pump Station 3 |  | TAR-SPS3 | 6510.2482.0005 | 3 | Q004 | Pump 3
Q005
Q006
Sewerage Pump Station 4 |  | TAR-SPS4 | 6510.2482.0005 | 1 | GPO | Pump 4
Aerodrome |  | FAC182 | 7510.0182.0050 | 5 | LGT | Lighting D/B
[5 empty] | CB2 | Male Toilets
CB3
CB4
[5 empty] | CB2 | Female Toilets
CN3
Town Pool |  | FAC189 | 7610.0189.0050 | 5 | SAFETY SWITCH - 40A | Temp Donga
SAFETY SWITCH - 40A
[5 empty] | PWR 1 | Chlorine Shed
PWR 2
PWR 3
Dawson River Pump |  | WPS9 | 6010.2482.0005 | 2 | PWR | Pump
PWR
Sewerage Treatment Plant | Tai Shue Street | STP1 | 6510.2482.0005 | 15 | PWR | DB1
[5 empty] | CB1 | Office
CB2
CB3
CB4
CB5
CB6
CB7
CB8
CB9
[5 empty] | Dosing Pumps | Dosing Shed
Lights
Pump 1 GPO
Pump 2 GPO
Sump Pump
Information Centre |  | FAC100 | 7410.0100.0050 | 10 | CB3 | Main
CB4
CB7
CB8
CB9
CB10
CB11
CB12
CB13
CB14
Library & Youth Centre |  | FAC145 | 7410.0145.0050 | 2 | RCD | Library DB
[5 empty] | RCD | Youth Centre DB
Leichardt Talking Tree |  | PK63 | 7210.0063.0050 | 1 | CB2 - 40amp | Main
RSL/Kindergarten |  | FAC186 | 7410.0186.0050 | 7 | CB2 | Main
CB3
CB4
CB6
CB7
CB8
CB9
Town Hall |  | FAC147 | 7410.0147.0050 | 52 | CB3 | D/B 1
CB4
CB5
CB6
CB7
CB8
CB9
CB10
CB11
CB12
CB13
CB14
CB15
CB16
CB17
CB18
CB19
CB21
CB23
CB25
CB27
CB29
CB31
CB33
CB35
CB37
CB39
CB41
CB43
CB45
CB47
[5 empty] | CB1 | D/B 2
CB3
CB5
CB7
CB9
CB11
CB21
CB23
CB25
CB27
CB29
CB31
CB33
CB35
CB37
CB39
CB41
[5 empty] | PWR | DB-AP
PWR
PWR
PWR
SES |  | FAC146 | 7410.0146.0050 | 7 | CB7 | Downstairs D/B
CB8
CB9
CB11
CB25
CB26
[5 empty] | RCD | Workshop DB 1
Council Depot |  | FAC184 | 7510.0184.0050 | 11 | RCD | Office
Bowser Light
|  | FAC204 | 7310.0204.0050 |  | RCD | Donga
RCD
|  | FAC184 | 7510.0184.0050 |  | RCD | Crib Room Donga
[5 empty] | RCD | Shed
Outlet - 15a
[5 empty] | RCD | Shed Workshop
[5 empty] | RCD | Storage Shed
[5 empty] | RCD | Caravan 1
[5 empty] | RCD | Caravan 2
Council Administration / Office |  | FAC144 | 7510.0144.0050 | 14 | CB4 | Main SB
CB5
CB13
CB23
CB24
CB27
CB30
CB32
CB35
CB38
CB39
CB5
[5 empty] | RCD | Office DB
RCD
Glebe Weir - including Public Amenities | Leichhardt Highway - Glebe Weir Road | FAC243 | 7110.0243.0050 | 34 | CB1 - GPO 16a | Toilets
CB3 - Sump Box 16a
CB9 - Control Box 20a
|  | PK54 | 7710.0054.0050 |  | CB1 - 20A - GPO | D/B 1
CB2 - 20A - GPO
CB3 - 20A - GPO
CB4 - 15A - GPO
CB5 - 20A - GPO
[5 empty] | CB1 - 16A - GPO | D/B 2
CB2 - 16A - GPO
CB3 - 16A - GPO
CB4 - 16A - GPO
CB5 - 16A - GPO
CB6 - 16A - GPO
[5 empty] | CB1 - 16A - GPO | D/B 3
CB2 - 16A - GPO
CB3 - 16A - GPO
CB4 - 16A - GPO
CB5 - 16A - GPO
[5 empty] | CB1 - 16A - GPO | D/B 4
CB2 - 16A - GPO
CB3 - 16A - GPO
CB4 - 16A - GPO
CB5 - 16A - GPO
[5 empty] | CB1 - 20A - GPO | D/B 5
CB2 - 20A - GPO
CB3 - 20A - GPO
CB4 - 16A - GPO
CB5 - 16A - GPO
[5 empty] | CB1 - 16A - GPO | D/B 6
CB2 - 16A - GPO
CB3 - 16A - GPO
CB4 - 16A - GPO
CB5 - 20A - GPO
Dwelling | 33 Wolsey Street | FAC207 | 7310.0207.0050 | 4 | RCBO 40A clipsal 2 Pole | Main
RCBO 10A Hager 2 Pole
RCBO 16A Hager 2 Pole
Transit Dwelling | 4 Bridge Street | FAC203 | 7310.0203.0050
Dwelling | 23 Martin Street | FAC206 | 7310.0206.0050
343

## Wowan-Dululu-Goovigen-Jambin
PREMISES | ADDRESS | Asset ID | Job No. for Accounts | No. | Circuit Breaker No. | Switchboards | MAINTENANCE & SERVICE TARGETS - COSTING BREAKDOWN
[7 empty] | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS | DATE Serviced | Pass ü Fail × | DETAILS & RECTIFICATION WORKS
DULULU
Public Toilets |  | FAC237 | 7106.0237.0050 | 1 | CB3 - 20amp | Main
Public Shelter |  | PK61 | 7706.0061.0050 | 4 | CB1 - 32amp | Main
CB2 - 10amp
CB3 - 16amp
CB4 - 20amp
5
GOOVIGEN
Caravan Park |  | FAC275 | 7707.0275.0050 | 19 | CB2 - 20amp | Tom's Shelter
CB3 - 10amp
CB4 - 20amp
CB5 - 20amp
CB6 - 20amp
CB7 - 20amp
CB8 - 10amp
[5 empty] | CB2 - 20amp | Caravan D/B 1
CB3 - 20amp
CB4 - 20am-
[5 empty] | CB2 - 20amp | Caravan D/B 2
CB3 - 20amp
CB4 - 20amp
[5 empty] | CB2 - 20amp | Caravan D/B 3
CB3 - 20amp
CB4 - 20amp
[5 empty] | CB2 - 20amp | Caravan D/B 4
CB3 - 20amp
CB4 - 20amp
Public Amenities | Goovigen Hall | FAC238 | 7107.0238.0050 | 3 | CB3 - 20amp | Main
CB5 - 10amp
Taylex - 2A
Water Reserve |  | TWS25 | 6007.2482.0005 | 12 | CB2 - 10amp | Chlorinator Shed
CB3 - 10amp
CB10 - 10amp
Hydramet - 20amp
[5 empty] | CB1 - 20amp | Pump Shed
CB2 - 20amp
CB3 - 20amp
CB4 - 20amp
CB5 - 10amp
CB7 - 10amp
CB9 - 10amp
[5 empty] | PWR - 20A | Main Distribution Board
Bore 5 |  | WPS27 | 6007.2482.0005 | 2 | Q156 - 32amp | Main
SW - PWR - 20amp
Bore 6 |  | WPS28 | 6007.2482.0005 | 1 | Q156 - 32amp | Main
37
JAMBIN
Public Toilets | Burnett Highway | FAC239 | 7108.0239.0050 | 4 | Lights - 10amp | Main
PWR - 20amp
Dryer - 20amp
Dryer - 20amp
Toilets Pump |  |  |  | 3 | GPO - 16amp | Main
GPO - 32amp
BBQ - 20amp
7
WOWAN
Duty Pump |  | WPS13 | 6013.2482.0005 | 4 | PWR - 25amp | Main
RCD - 40amp
GPO - 16amp
CB15 - 20amp
RSL Hall |  | FAC197 | 7413.0197.0050 | 9 | RCD - 40amp | Main
PWR 1 - 16amp
PWR 2 - 16amp
PWR 3 - 16amp
PWR 4 - 16amp
EMR LTS - 10A
Taylex - 20A
HWS - 20amp
Toilets - 10amp
SES/Depot |  | FAC151 | 7413.0151.0050 | 8 | CB1 - Safety Switch
CB9 - LTS - 10A
32A Outlet
15A Outlet
Toilet Block - 40A
PWR - 20A
1 (3)
1 (4)
21
RANNES
Rannes Camp (TBA) | Shed |  |  |  | Wilco 4 Pole RCD 40amp rated current with 30 mA trip
| Toilet Block |  |  |  | Merlin Gerin 2 pole 20amp RCBO with 30 mA trip
| Room 1 |  |  |  | Merlin Gerin 2 pole 40amp RCBO with 30 mA trip
| Room 5 |  |  |  | Merlin Gerin 2 pole 40amp RCBO with 30 mA trip
| Room9 |  |  |  | Wilco 2 pole 40amp RCD with 30 mA trip
| Room 13 |  |  |  | Merlin Gerin 2 pole 40 amp RCD with 30 mA trip
| DB1 |  |  |  | Clipsal 3 pole 63 amp RCD with 30 mA trip
| DB2 |  |  |  | Merlin Gerin 2 pole 40 amp RCD with 30 mA trip
| DB3 |  |  |  | Merlin Gerin 2 pole 40 amp RCD with 30 mA trip
| DB4 |  |  |  | Merlin Gerin 2 pole 40 amp RCD with 30 mA trip
| DB5 |  |  |  | Clipsal 3 pole 63 amp RCD with 30 mA trip