## Sch. Technical Particulars
TENDERER
NAME OF TENDERER:
ADDRESS:
TELEPHONE NO:
TENDERER'S REPRESENTATIVE
NAME:
SIGNATURE:
DATE:
Schedule of Technical Particulars
Tenderers are required to provide details of all necessary technical information to fully describe the technical particulars of their Tender. The items listed in each Part of this Schedule are believed to be reflective of possible components that may be included in the works, but no responsibility will be accepted by the Principal for the accuracy or for the omission of any item necessary for the completion of the work as specified, nor will the Principal be deemed to have incurred any liability for any error in omission of items from the schedule. If the Tenderer is not satisfied with the accuracy of the Schedule, he shall insert and include such items as determined by them that are necessary for the complete and proper performance of the Contract.
The information provided in the Schedule of Technical Particulars will be utilised by the Principal to assist in the evaluation of the Tenders and check to compliance with the requirements of the Technical Specification.
The Schedule of Technical Particulars has been divided into the following Parts listed in the table below, based on the anticipated systems within the proposed upgrades. Tenderers should fill out the Microsoft Excel Worksheet corresponding to each Part. The completed Schedule of Technical Particulars must be submitted in Microsoft Excel format. Tenderers may provide an additional copy of the schedule in PDF format for verification purposes if desired.
Parts Comprising Schedule of Technical Particulars
Part | System
A | Moura Raw Water Supply
B | Moura Filtration System (Train 2)
C | Moura Filtration System (Train 3)
D | Biloela Raw Water Supply
E | Biloela Clarification
F | Biloela Filtration System
G | Buildings
H | Laboratory
I | SCADA Control
J | Electrical
K | Minor Valves
L | Pumps
M | Pipework
N | Spare Parts

## A
Part A | Moura Raw Water Supply
ID | Component | Parameter | Detail by Tenderer
A1 | Raw Water Pump Station Online Turbidimeter with Controller | Quantity
A2 |  | Sample Point(s)
A3 |  | Type
A4 |  | Manufacturer
A5 |  | Model
A6 |  | Accuracy (% full range)
A7 |  | Alarm
A8 |  | Communication
A9 |  | Compliance Certifications
A10 |  | Dimensions (H x W x D)
A11 |  | Mounting
A12 |  | No of channels
A13 |  | Operating Humidity
A14 |  | Operating Temperature Range
A15 |  | Output Signal
A16 |  | Power Requirements (V)
A17 |  | Range (NTU)
A18 |  | Repeatability
A19 |  | Response Time
A20 |  | Sample Pressure (kPa)
A21 |  | Sample Flowrate
A22 |  | Sample Temperature (°C)
A23 | Raw Water Dissolved Oxygen meter | Sample point
A24 |  | Type
A25 |  | Manufacturer
A26 |  | Model
A27 |  | Measurement Range (mg/L)
A28 |  | Accuracy (% full range)
A29 |  | Resolution (mg/L)
A30 |  | Repeatability (% reading)
A31 |  | Sample Temperature Range (oC)
A32 |  | Sample Pressure (kPa)
A33 |  | Reagents Required
A34 |  | Output Signal
A35 |  | Protection
A36 | Raw Water Conductivity meter | Sample point
A37 |  | Type
A38 |  | Manufacturer
A39 |  | Model
A40 |  | Measurement Range (mS)
A41 |  | Accuracy (% full range)
A42 |  | Resolution (mS)
A43 |  | Repeatability (% reading)
A44 |  | Sample Temperature Range (oC)
A45 |  | Sample Pressure (kPa)
A46 |  | Reagents Required
A47 |  | Output Signal
A48 |  | Protection
A49 | Raw Water pH meter | Sample point
A50 |  | Type
A51 |  | Manufacturer
A52 |  | Model
A53 |  | Measurement Range (pH units)
A54 |  | Accuracy (% full range)
A55 |  | Resolution (pH units)
A56 |  | Repeatability (% reading)
A57 |  | Sample Temperature Range (oC)
A58 |  | Sample Pressure (kPa)
A59 |  | Reagents Required
A60 |  | Output Signal
A61 |  | Protection
A62 | Raw Water UV254 analyser | Sample point
A63 |  | Type
A64 |  | Manufacturer
A65 |  | Model
A66 |  | Measurement Range (cm-1)
A67 |  | Accuracy (% full range)
A68 |  | Resolution (cm-1)
A69 |  | Repeatability (% reading)
A70 |  | Sample Temperature Range (oC)
A71 |  | Sample Pressure (kPa)
A72 |  | Reagents Required
A73 |  | Output Signal
A74 |  | Protection

## B
Part B | Moura Filtration System (Train 2)
ID | Component | Parameter | Detail by Tenderer
B1 | Filtered Water UV254 analyser | Sample point
B2 |  | Type
B3 |  | Manufacturer
B4 |  | Model
B5 |  | Measurement Range (cm-1)
B6 |  | Accuracy (% full range)
B7 |  | Resolution (cm-1)
B8 |  | Repeatability (% reading)
B9 |  | Sample Temperature Range (oC)
B10 |  | Sample Pressure (kPa)
B11 |  | Reagents Required
B12 |  | Output Signal
B13 |  | Protection
B14 | Filtered Water Manganese analyser | Sample point
B15 |  | Type
B16 |  | Manufacturer
B17 |  | Model
B18 |  | Measurement Range (mg/L)
B19 |  | Accuracy (% full range)
B20 |  | Resolution (mg/L)
B21 |  | Repeatability (% reading)
B22 |  | Sample Temperature Range (oC)
B23 |  | Sample Pressure (kPa)
B24 |  | Reagents Required
B25 |  | Output Signal
B26 |  | Protection
B27 | Filtered Water Chlorine analyser | Sample point
B28 |  | Type
B29 |  | Manufacturer
B30 |  | Model
B31 |  | Measurement Range (mg/L)
B32 |  | Accuracy (% full range)
B33 |  | Resolution (mg/L)
B34 |  | Repeatability (% reading)
B35 |  | Sample Temperature Range (oC)
B36 |  | Sample Pressure (kPa)
B37 |  | Reagents Required
B38 |  | Output Signal
B39 |  | Protection

## C
Part C | Moura Filtration System (Train 3)
ID | Component | Parameter | Detail by Tenderer
C1 | Filtered Water Turbidimeters | Sample points
C2 |  | No. Turbidimeters
C3 |  | Type
C4 |  | Manufacturer
C5 |  | Model
C6 |  | Measurement Range (NTU/FTU)
C7 |  | Accuracy (% full range)
C8 |  | Resolution (NTU/FTU)
C9 |  | Repeatability (% reading)
C10 |  | Temperature Drift
C11 |  | Selft Cleaning
C12 |  | Sample Temperature Range (oC)
C13 |  | Sample Pressure (kPa)
C14 |  | Sample flowrate
C15 |  | Calibration method
C16 |  | Output Signal
C17 |  | Protection
C18 | Filtered Water UV254 analyser | Sample point
C19 |  | Type
C20 |  | Manufacturer
C21 |  | Model
C22 |  | Measurement Range (cm-1)
C23 |  | Accuracy (% full range)
C24 |  | Resolution (cm-1)
C25 |  | Repeatability (% reading)
C26 |  | Sample Temperature Range (oC)
C27 |  | Sample Pressure (kPa)
C28 |  | Reagents Required
C29 |  | Output Signal
C30 |  | Protection
C31 | Filtered Water Manganese analyser | Sample point
C32 |  | Type
C33 |  | Manufacturer
C34 |  | Model
C35 |  | Measurement Range (mg/L)
C36 |  | Accuracy (% full range)
C37 |  | Resolution (mg/L)
C38 |  | Repeatability (% reading)
C39 |  | Sample Temperature Range (oC)
C40 |  | Sample Pressure (kPa)
C41 |  | Reagents Required
C42 |  | Output Signal
C43 |  | Protection

## D
Part D | Biloela Raw Water Supply
ID | Component | Parameter | Detail by Tenderer
D1 | Raw Water Pump Station Online Turbidimeter with Controller | Quantity
D2 |  | Sample Point(s)
D3 |  | Type
D4 |  | Manufacturer
D5 |  | Model
D6 |  | Accuracy (% full range)
D7 |  | Alarm
D8 |  | Communication
D9 |  | Compliance Certifications
D10 |  | Dimensions (H x W x D)
D11 |  | Mounting
D12 |  | No of channels
D13 |  | Operating Humidity
D14 |  | Operating Temperature Range
D15 |  | Output Signal
D16 |  | Power Requirements (V)
D17 |  | Range (NTU)
D18 |  | Repeatability
D19 |  | Response Time
D20 |  | Sample Pressure (kPa)
D21 |  | Sample Flowrate
D22 |  | Sample Temperature (°C)
D23 | Raw Water Pump Station Dissolved Oxygen meter | Sample point
D24 |  | Type
D25 |  | Manufacturer
D26 |  | Model
D27 |  | Measurement Range (mg/L)
D28 |  | Accuracy (% full range)
D29 |  | Resolution (mg/L)
D30 |  | Repeatability (% reading)
D31 |  | Sample Temperature Range (oC)
D32 |  | Sample Pressure (kPa)
D33 |  | Reagents Required
D34 |  | Output Signal
D35 |  | Protection
D36 | Raw Water Pump Station Conductivity meter | Sample point
D37 |  | Type
D38 |  | Manufacturer
D39 |  | Model
D40 |  | Measurement Range (mS)
D41 |  | Accuracy (% full range)
D42 |  | Resolution (mS)
D43 |  | Repeatability (% reading)
D44 |  | Sample Temperature Range (oC)
D45 |  | Sample Pressure (kPa)
D46 |  | Reagents Required
D47 |  | Output Signal
D48 |  | Protection
D49 | Raw Water Pump Station pH meter | Sample point
D50 |  | Type
D51 |  | Manufacturer
D52 |  | Model
D53 |  | Measurement Range (pH units)
D54 |  | Accuracy (% full range)
D55 |  | Resolution (pH units)
D56 |  | Repeatability (% reading)
D57 |  | Sample Temperature Range (oC)
D58 |  | Sample Pressure (kPa)
D59 |  | Reagents Required
D60 |  | Output Signal
D61 |  | Protection
D62 | Raw Water UV254 Pump Station analyser | Sample point
D63 |  | Type
D64 |  | Manufacturer
D65 |  | Model
D66 |  | Measurement Range (cm-1)
D67 |  | Accuracy (% full range)
D68 |  | Resolution (cm-1)
D69 |  | Repeatability (% reading)
D70 |  | Sample Temperature Range (oC)
D71 |  | Sample Pressure (kPa)
D72 |  | Reagents Required
D73 |  | Output Signal
D74 |  | Protection

## E
Part E | Biloela Clarification
ID | Component | Parameter | Detail by Tenderer
E1 | Settled Water Turbidimeter(s) | Sample Points
E2 |  | No. Turbidimeters
E3 |  | Type
E4 |  | Manufacturer
E5 |  | Model
E6 |  | Measurement Range (NTU)
E7 |  | Accuracy (% full range)
E8 |  | Resolution (NTU/FTU)
E9 |  | Repeatability (% reading)
E10 |  | Temperature Drift
E11 |  | Selft Cleaning
E12 |  | Sample Temperature Range (oC)
E13 |  | Sample Pressure (kPa)
E14 |  | Sample flowrate
E15 |  | Calibration method
E16 |  | Output Signal
E17 |  | Protection

## F
Part F | Biloela Filtration System
ID | Component | Parameter | Detail by Tenderer
F1 | Filtered Water UV254 analyser | Sample point
F2 |  | Type
F3 |  | Manufacturer
F4 |  | Model
F5 |  | Measurement Range (cm-1)
F6 |  | Accuracy (% full range)
F7 |  | Resolution (cm-1)
F8 |  | Repeatability (% reading)
F9 |  | Sample Temperature Range (oC)
F10 |  | Sample Pressure (kPa)
F11 |  | Reagents Required
F12 |  | Output Signal
F13 |  | Protection
F14 | Filtered Water Manganese analyser | Sample point
F15 |  | Type
F16 |  | Manufacturer
F17 |  | Model
F18 |  | Measurement Range (mg/L)
F19 |  | Accuracy (% full range)
F20 |  | Resolution (mg/L)
F21 |  | Repeatability (% reading)
F22 |  | Sample Temperature Range (oC)
F23 |  | Sample Pressure (kPa)
F24 |  | Reagents Required
F25 |  | Output Signal
F26 |  | Protection

## G
Part G | Buildings
ID | Component | Parameter | Detail by Tenderer
P1 | General Site Civil Works | Details of upgrades proposed
P2
P3
P4
P5 | Site Safety Equipment & Signage | Details of upgrades proposed
P6
P7
P8
P9 | Other (please specify) | Details of upgrades proposed
P10
P11
P12

## H
Part H | Laboratory
ID | Component | Parameter | Detail by Tenderer
H1 | Lab Building Modifications (if applicable) | Details of upgrades proposed
H2
H3
H4
H5

## I
Part I | SCADA Control
ID | Component | Parameter | Point | Detail by Tenderer
I1 | PLC | Manufacturer
I2 |  | No. PLCs
I3 |  | Model | PLC 1
I4 |  |  | PLC 2
I5 |  |  | PLC 3
I6 |  |  | PLC 4
I7 |  |  | PLC 5
I8 |  |  | PLC 6
I9 |  | Design (chassis, modular, etc) | PLC 1
I10 |  |  | PLC 2
I11 |  |  | PLC 3
I12 |  |  | PLC 4
I13 |  |  | PLC 5
I14 |  |  | PLC 6
I15 |  | Power Supply | PLC 1
I16 |  |  | PLC 2
I17 |  |  | PLC 3
I18 |  |  | PLC 4
I19 |  |  | PLC 5
I20 |  |  | PLC 6
I21 |  | Spare Capacity | PLC 1
I22 |  |  | PLC 2
I23 |  |  | PLC 3
I24 |  |  | PLC 4
I25 |  |  | PLC 5
I26 |  |  | PLC 6
I27 | SCADA System | Software
I28 |  | Primary Server Details
I29 |  | Secondary Server Details
I30 | UPS | Manufacturer
I31 |  | Model
I32 |  | Capacity
I33 |  | Run Time (hrs)
I34 | IO and Communication Modules | Manufacture
I35 |  | Model
I36 |  | Spare Capacity
I37 | Human Machine Interface (HMI) | Quantity
I38 |  | Type
I39 |  | Manufacturer
I40 |  | Model
I41 |  | Size
I42 | Telemetry | Manufacture
I43 |  | Model
I44 |  | Details

## J
Part J | Electrical
ID | Component | Parameter | Detail by Tenderer
T1 | Power Distribution | Manufacturer
T2 |  | Type of Construction
T2 |  | Dimensions
T3 |  | Proposed Surface Preparation
T3 |  | Painting System
T4 |  | Short circuit withstand rating
T4 |  | Circuit breakers
T5 |  | Contactors and thermal
T5 |  | DC supply overload
T6 |  | Control relays
T6 |  | Control switches
T7 |  | Pushbuttons and indicating lamps
T7 |  | Running low meters
T8 |  | Control transformer
T8 |  | 3-phase outlet
T9 |  | Terminals
T9 |  | Phase failure relay
T10 |  | Lightning and Surge Protection: Manufacturer Model/Type (Main Switchboard and PLC)
T10 | UPS/Power Conditioner | Manufacturer
T11 |  | Type of construction
T11 |  | UPS maximum capacity (minutes)
T30 | Others (please specify)
T31
T31
T32
T32
T33

## K
Part K | Minor Valves
Provide an itemised list of recommended valve types not included in Schedule of Prices but required for operation of the relevant system. This schedule shall in no way be deemed to place the Principal under obligation to purchase all or any of the items recommended by the Tenderer.
ID | Component | Parameter | Detail by Tenderer
K1 | Valve 1 | Valve Used For:
K2 |  | Description
K3 |  | Number of Valves
K4 |  | Valve Manufacturer
K5 |  | Valve Model
K6 |  | Valve Size (mm)
K7 |  | Valve Material
K8 |  | Valve Type
K9 |  | Valve Operating Pressure
K10 | Valve 2 | Valve Used For:
K11 |  | Description
K12 |  | Number of Valves
K13 |  | Valve Manufacturer
K14 |  | Valve Model
K15 |  | Valve Size (mm)
K16 |  | Valve Material
K17 |  | Valve Type
K18 |  | Valve Operating Pressure
K19 | Valve 3 | Valve Used For:
K20 |  | Description
K21 |  | Number of Valves
K22 |  | Valve Manufacturer
K23 |  | Valve Model
K24 |  | Valve Size (mm)
K25 |  | Valve Material
K26 |  | Valve Type
K27 |  | Valve Operating Pressure
K28 | Valve 4 | Valve Used For:
K29 |  | Description
K30 |  | Number of Valves
K31 |  | Valve Manufacturer
K32 |  | Valve Model
K33 |  | Valve Size (mm)
K34 |  | Valve Material
K35 |  | Valve Type
K36 |  | Valve Operating Pressure
K37 | Valve 5 | Valve Used For:
K38 |  | Description
K39 |  | Number of Valves
K40 |  | Valve Manufacturer
K41 |  | Valve Model
K42 |  | Valve Size (mm)
K43 |  | Valve Material
K44 |  | Valve Type
K45 |  | Valve Operating Pressure
K46 | Valve 6 | Valve Used For:
K47 |  | Description
K48 |  | Number of Valves
K49 |  | Valve Manufacturer
K50 |  | Valve Model
K51 |  | Valve Size (mm)
K52 |  | Valve Material
K53 |  | Valve Type
K54 |  | Valve Operating Pressure
K55 | Valve 7 | Valve Used For:
K56 |  | Description
K57 |  | Number of Valves
K58 |  | Valve Manufacturer
K59 |  | Valve Model
K60 |  | Valve Size (mm)
K61 |  | Valve Material
K62 |  | Valve Type
K63 |  | Valve Operating Pressure
K64 | Valve 8 | Valve Used For:
K65 |  | Description
K66 |  | Number of Valves
K67 |  | Valve Manufacturer
K68 |  | Valve Model
K69 |  | Valve Size (mm)
K70 |  | Valve Material
K71 |  | Valve Type
K72 |  | Valve Operating Pressure

## L
Part L | Pumps
Provide an itemised list of recommended valve types not included in Schedule of Prices but required for operation of the relevant system. This schedule shall in no way be deemed to place the Principal under obligation to purchase all or any of the items recommended by the Tenderer.
ID | Component | Parameter | Detail by Tenderer
L1 | Moura: Sample Pump for Raw Water Pump Station Pipe Sample Point to RWPS Building | Pump Type
L2 |  | Number of Pumps
L3 |  | Manufacturer
L4 |  | Model
L5 |  | Duty Point Flow (L/s)
L6 |  | Duty Point Head
L7 |  | Speed (rpm)
L8 |  | Power required (kW)
L9 |  | Voltage (V)
L10 |  | Phase
L11 |  | Frequency (Hz)
L12
L13
L14
L15 | Moura: Sample Pump for Raw Water Pipe Sample Point to Laboratory | Pump Type
L16 |  | Number of Pumps
L17 |  | Manufacturer
L18 |  | Model
L19 |  | Duty Point Flow (L/s)
L20 |  | Duty Point Head
L21 |  | Speed (rpm)
L22 |  | Power required (kW)
L23 |  | Voltage (V)
L24 |  | Phase
L25 |  | Frequency (Hz)
L26
L27
L28
L29 | Moura: Sample Pump for Train 2 Filtered Water to Laboratory | Pump Type
L30 |  | Number of Pumps
L31 |  | Manufacturer
L32 |  | Model
L33 |  | Duty Point Flow (L/s)
L34 |  | Duty Point Head
L35 |  | Speed (rpm)
L36 |  | Power required (kW)
L37 |  | Voltage (V)
L38 |  | Phase
L39 |  | Frequency (Hz)
L40
L41
L42
L43 | Moura: Sample Pump for Train 2 Treated Water Sample Point to Laboratory | Pump Type
L44 |  | Number of Pumps
L45 |  | Manufacturer
L46 |  | Model
L47 |  | Duty Point Flow (L/s)
L48 |  | Duty Point Head
L49 |  | Speed (rpm)
L50 |  | Power required (kW)
L51 |  | Voltage (V)
L52 |  | Phase
L53 |  | Frequency (Hz)
L54
L55
L56
L57 | Moura: Sample Pump for Train 3 Filter 5 Sample Point to Laboratory | Pump Type
L58 |  | Number of Pumps
L59 |  | Manufacturer
L60 |  | Model
L61 |  | Duty Point Flow (L/s)
L62 |  | Duty Point Head
L63 |  | Speed (rpm)
L64 |  | Power required (kW)
L65 |  | Voltage (V)
L66 |  | Phase
L67 |  | Frequency (Hz)
L68
L69
L70
L71 | Moura: Sample Pump for Train 3 Filter 6 Sample Point to Laboratory | Pump Type
L72 |  | Number of Pumps
L73 |  | Manufacturer
L74 |  | Model
L75 |  | Duty Point Flow (L/s)
L76 |  | Duty Point Head
L77 |  | Speed (rpm)
L78 |  | Power required (kW)
L79 |  | Voltage (V)
L80 |  | Phase
L81 |  | Frequency (Hz)
L82
L83
L84
L85 | Moura: Sample Pump for Train 3 Filter 7 Sample Point to Laboratory | Pump Type
L86 |  | Number of Pumps
L87 |  | Manufacturer
L88 |  | Model
L89 |  | Duty Point Flow (L/s)
L90 |  | Duty Point Head
L91 |  | Speed (rpm)
L92 |  | Power required (kW)
L93 |  | Voltage (V)
L94 |  | Phase
L95 |  | Frequency (Hz)
L96
L97
L98
L99 | Moura: Sample Pump for Train 3 Filter 8 Sample Point to Laboratory | Pump Type
L100 |  | Number of Pumps
L101 |  | Manufacturer
L102 |  | Model
L103 |  | Duty Point Flow (L/s)
L104 |  | Duty Point Head
L105 |  | Speed (rpm)
L106 |  | Power required (kW)
L107 |  | Voltage (V)
L108 |  | Phase
L109 |  | Frequency (Hz)
L110
L111
L112
L113 | Moura: Sample Pump for Train 3 Filtered Water Sample Point to Laboratory | Pump Type
L114 |  | Number of Pumps
L115 |  | Manufacturer
L116 |  | Model
L117 |  | Duty Point Flow (L/s)
L118 |  | Duty Point Head
L119 |  | Speed (rpm)
L120 |  | Power required (kW)
L121 |  | Voltage (V)
L122 |  | Phase
L123 |  | Frequency (Hz)
L124
L125
L126

## M
Part M | Pipework
Provide an itemised list of recommended valve types not included in Schedule of Prices but required for operation of the relevant system. This schedule shall in no way be deemed to place the Principal under obligation to purchase all or any of the items recommended by the Tenderer.
ID | Component | Parameter | Detail by Tenderer
M1 | Moura: Pipework Connection from Raw Water Pump Station Sample Point to Online Turbidimeter with Controller | Material
M2 |  | Length (m)
M3 |  | Size (mm)
M4
M5
M6
M7
M8
M9
M10
M11
M12
M13
M14
M15 | Moura: Pipework Connection from Train 2 Filtered Water to Laboratory | Material
M16 |  | Length (m)
M17 |  | Size (mm)
M18
M19
M20
M21
M22
M23
M24
M25
M26
M27
M28
M29 | Moura: Pipework Connection from Train 2 Treated Water Sample Point to Laboratory | Material
M30 |  | Length (m)
M31 |  | Size (mm)
M32
M33
M34
M35
M36
M37
M38
M39
M40
M41
M42
M43 | Moura: Pipework Connection from Train 3 Filter 5 Sample Point to Laboratory | Material
M44 |  | Length (m)
M45 |  | Size (mm)
M46
M47
M48
M49
M50
M51
M52
M53
M54
M55
M56
M57 | Moura: Pipework Connection from Train 3 Filter 6 Sample Point to Laboratory | Material
M58 |  | Length (m)
M59 |  | Size (mm)
M60
M61
M62
M63
M64
M65
M66
M67
M68
M69
M70
M71 | Moura: Pipework Connection from Train 3 Filter 7 Sample Point to Laboratory | Material
M72 |  | Length (m)
M73 |  | Size (mm)
M74
M75
M76
M77
M78
M79
M80
M81
M82
M83
M84
M85 | Moura: Pipework Connection from Train 3 Filter 8 Sample Point to Laboratory | Material
M86 |  | Length (m)
M87 |  | Size (mm)
M88
M89
M90
M91
M92
M93
M94
M95
M96
M97
M98
M99 | Moura: Pipework Connection from Train 3 Filtered Water Sample Point to Laboratory | Material
M100 |  | Length (m)
M101 |  | Size (mm)
M102
M103
M104
M105
M106
M107
M108
M109
M110
M111
M112

## N
Part N | Spare Parts
Provide an itemised list of recommended spare parts and maintenance tools not included in Schedule of Prices but required for routine operation and maintenance over a period of 5 years continuous service. This schedule shall in no way be deemed to place the Principal under obligation to purchase all or any of the items recommended by the Tenderer.
ID | Description | Quantity | Price (ex GST) | Location of Stock | Lead Time (weeks)
N1
N2
N3
N4
N5
N6
N7
N8
N9
N10
N11
N12
N13
N14
N15
N16
N17
N18
N19
N20
N21
N22
N23
N24
N25
N26
N27
N28
N29
N30