## Pricing Schedule
Project Number: | CONTRACT NO: T2324.41
Local Authority: | Banana Shire Council
Asset Name: | Biloela STP
Location: | Quarrie Road, Biloela QLD 4715
Biloela STP Repair Project - Design and Construction
MAIN SCOPE ITEM | DESCRIPTION | Amount ($, AUD Incl GST)
1 | Preliminaries, Mobilisation and Demobilisation
2 | Insurances, fees, permits etc.
3 | Project Management and Documentation
4 | Site surveys, service location, and setting out
5 | Detailed design of new BTF 2 wall | -
5.1 | 30% Design
5.2 | 80% Design
5.3 | 100% Design/IFC
6 | Detailed design of minor works: -Repairs to the inlet channel -Repairs to Primary Sedimentation Tank (PST) 1 and 2 -Repairs to Biological Trickling Filter (BTF) 3 incl. BTF 3 stainless steel restraint brackets -Repairs to the Chlorine Contact Tank (CCT) | -
6.1 | 30% Design
6.2 | 80% Design
6.3 | 100% Design/IFC
7 | BTF 2 wall replacement | -
7.1 | Demolition and disposal of failed BTF 2 wall including removal and storage of ballast as required to facilitate works
7.2 | Supply and install new BTF 2 wall including reinstatement of stored ballast media and replacement of damaged perforated channel pipe on BTF floor
7.3 | Testing and commissioning
8 | Repair Inlet Channel | -
8.1 | Temporary bypass
8.2 | Concrete repairs to 6 areas totalling approximately 147L
8.3 | Crack injection to 43 cracks totalling 43.5m
8.4 | Apply epoxy protective coating to 93m2 - Includes reinstatement of up to 30mm section loss to 3m2 of substrate
8.5 | Apply anti-carbonation coating to 53m2
9 | Repair PST 1 and Siphon Chamber | -
9.1 | Isolation of siphon chamber
9.2 | Concrete repairs to 4 areas totalling approximately 168L
9.3 | Crack injection to 3 cracks totalling 1.95m
9.4 | Apply epoxy protective coating to 10m2 - Includes reinstatement of up to 30mm section loss to 10m2 of substrate
10 | Repair PST 2 | -
10.1 | Concrete repairs to 1 area totalling approximately 9L
11 | Repair BTF 3 | -
11.1 | Crack injection to 1 crack totalling 1m
11.2 | Supply and install stainless steel BTF 3 wall restraint brackets
12 | Repair Chlorine Contact Tank | -
12.1 | Concrete repairs to 1 area totalling approximately 6L
12.2 | Apply epoxy protective coating to 39m2
13 | Provision of 'As Constructed' Drawings and Information for BTF 2 wall
14 | Provision of 'As Constructed' Drawings and Information for all minor repairs
15 | Existing service relocations (if required)
Please add details/price of additional works not include above, but required to complete the works
TOTAL LUMP SUM TENDER PRICE (GST inclusive)
OTHER
Other O | Pricing for additional concrete repair works if ordered (complete)
O.1 | Concrete repairs per additional L
O.2 | Crack injection per additional m
O.3 | Apply epoxy protective coating per additional m2 - Includes reinstatement of up to 30mm section loss of substrate per m2
O.4 | Apply anti-carbonation coating per additional m2
Biloela STP Repair Project - Design and Construction
PROVISIONAL SCOPE ITEM | DESCRIPTION | Amount ($, AUD Incl GST)
P1.0 | BTF 1 Option 1 - Repair BTF 1 Ballast Wall -Design of repairs -Removal, storage, and replacement of ballast as required to facilitate repairs -Concrete repairs to 19 areas totalling approximately 2895L -Crack injection to multiple cracks totalling 71m -Apply anti-carbonation coating to 96m2 -Testing and commissioning
P2.0 | BTF 1 Option 2 - Replace BTF 1 Ballast Wall -Design of replacement wall -Demolition and disposal of failed BTF 2 wall including removal and storage of ballast as required to facilitate works -Supply and install new BTF 2 wall including reinstatement of stored ballast media and replacement of damaged perforated channel pipe on BTF floor -Testing and commissioning
P3.0 | Inlet Channel Partial Replacement -Design of repairs -Installation of permanent pipework between the inlet channel grit removal chamber and the pipework to PST's

## Additional Items
Project Number: | 30032680
Local Authority: | Banana Shire Council
Asset Name: | Biloela STP
Location: | Quarrie Road, Biloela QLD 4715
Biloela STP Repair Project - Design and Construction - Additional Repair Rates
ITEM | DESCRIPTION | Unit | Cost Rate ($, AUD Incl GST)
A1 | Additional Repairs to Inlet Channel | - | -
A1.1 | Concrete repairs | L
A1.2 | Crack injection | m
A1.3 | Epoxy protective coating | m2
A1.4 | Anti-carbonation coating | m2
A2 | Additional Repairs to PST 1 | - | -
A2.1 | Concrete repairs | L
A2.2 | Crack injection | m
A2.3 | Epoxy protective coating | m2
A3 | Additional Repairs to PST 2 | - | -
A3.1 | Concrete repairs | L
A4 | Additional Repairs to BTF 3 | - | -
A4.1 | Crack injection | m
A5 | Additional repairs to the CCT | - | -
A5.1 | Concrete repairs | L
A5.2 | Epoxy protective coating | m2
A4 | Additional Repairs to BTF 1 | - | -
A6.1 | Concrete repairs | L
A6.2 | Crack injection | m
A6.3 | Anti-carbonation coating | m2
Schedule of Rates for Variations, Labour and Dayworks
ITEM | RATE PER HOUR (ex GST) | GST Component | RATE PER HOUR (Incl. GST)
Schedule of Rates for Plant Hire
ITEM | RATE PER HOUR (ex GST) | GST Component | RATE PER HOUR (Incl. GST)