## Pricing Schedule
PROJECT: TAROOM STP WORKS PRINCIPAL: BANANA SHIRE COUNCIL
Item No | Item | Quantity | Units (Lump Sum) | Rate (Ex GST) | Total (Ex GST)
1 | PRELIMINARIES |  |  |  | 0
1.01 | Contractor Project management and administration | 1 | LS | 0 | 0
1.02 | Travel, Food & Accommodation | 1 | LS | 0 | 0
1.03 | Ongoing contract administration, progress meetings, progress reporting, and WHS reporting. | 1 | LS | 0 | 0
1.04 | Preparation of Project Management Plan, Quality Management Plan, Safety Management Plan, Environmental Management Plan, Risk Management Plan, SWMS, ITPs) | 1 | LS | 0 | 0
1.05 | Site Mobilisation, establishment and maintenance | 1 | LS | 0 | 0
1.06 | Removal of debris and stockpiled material off site | 1 | LS | 0 | 0
1.07 | Site survey, services location, site measure, dilapidation survey/report, setting out etc. | 1 | LS | 0 | 0
1.08 | Contractor, vendor and sub-contractor design, documentation and certification. | 1 | LS | 0 | 0
1.09 | Demobilisation and restoration of the site | 1 | LS | 0 | 0
1.1 | As-Contructed Drawings, Quality documentation, etc | 1 | LS | 0 | 0
1.11 | Any other works not captured above | 1 | LS | 0 | 0
2 | Demolition - Trickling Filter |  |  |  | 0
2.01 | Draining of existing Imhoff tank, trickling filter, pipework (if required) | 1 | LS | 0 | 0
2.02 | Removal and disposal of trickling filter access platform and staircase | 1 | LS | 0 | 0
2.03 | Removal and disposal of biofilm-coated stones within trickling filter | 1 | LS | 0 | 0
2.04 | Removal and disposal of existing DN150 trickling filter pipework | 30 | per LM | 0 | 0
2.05 | Demolition and disposal of 14.5m dia., 2m tall trickling filter | 1 | LS | 0 | 0
2.06 | Grout-filling existing upstream and downstream pipework connections | 1 | LS | 0 | 0
2.07 | Any other works required for the removal of trickling filter and upstream pipework to enable construction of the access road | 1 | LS | 0 | 0
3 | Demolition - A-Recycle Pipework |  |  |  | 0
3.01 | Purge existing A-Recycle Pipework | 1 | LS | 0 | 0
3.02 | Remove existing C.I. A-Recycle Pipework within areas identified within the demolition technical specification | 40 | per LM | 0 | 0
3.03 | Grout-filling of abandoned pipework upstream and downstream of removed sections | 1 | LS | 0 | 0
3.04 | Backfilling of trench with approved material | 1 | LS | 0 | 0
3.05 | Any other works required for the cosntruction of the inlet works and balance tank not captured above | 1 | LS | 0 | 0
4 | Final Effluent Scour Pit Relocation |  |  |  | 0
4.01 | Removal or reuse of existing scour pit cover slab | 1 | LS | 0 | 0
4.02 | Removal or reuse of existing scour pit walls 1m below existing surface level | 1 | per LM | 0 | 0
4.03 | Remove and relocate existing scour pit camlock arrangement to use within new scour pit location | 1 | LS | 0 | 0
4.04 | Backfill existing demolished scour pit to enable construction of swale | 1 | LS | 0 | 0
4.05 | Install new scour pit within proposed location, reusing exisiting undamaged assets where possible | 1 | LS | 0 | 0
4.06 | Redirect scour arrangement to new scour pit location as definied within the civil drawing set (OD125 SDR PE100) | 15 | per LM | 0 | 0
4.07 | Any other works required for the construction of the inlet works and balance tank not captured above | 1 | LS | 0 | 0
5 | Civil Earthworks |  |  |  | 0
5.01 | Clearing, grubbing, topsoil stripping and removal of contaminated soil off site | 1 | LS | 0 | 0
5.02 | Complete earthworks as described within the Earthworks Technical Specification and drawings (refer TARSTP-DWG-CIV-0002 for volumes):
| a) Total Cut | 450 | m3 | 0 | 0
| b) Engineered fill (in compliance with Structural drawings) | 50 | m3 | 0 | 0
| c) Spoil Balance | 1 | m3 | 0 | 0
| d) Top Soil Strip and Disposal | 1 | m3 | 0 | 0
| e) Top Soil Replacement | 1 | m3 | 0 | 0
5.033 | Formation of swale as per the detailed earthworks swale setout table | 1 | LS | 0 | 0
5.043 | Any other works required for the civil earthworks not captured above | 1 | LS | 0 | 0
6 | Major Concrete Works - Apron Slabs |  |  |  | 0
6.01 | Ensuring subbase is compacted to meet requirements within drawings | 1 | LS | 0 | 0
6.02 | Non-trafficable apron slabs as shown within drawings
| a) Total Concrete, Nominally 150mm thick | 30.5 | m3 | 0 | 0
| b) Total SL82T 40 Cover Mesh | 181 | m² | 0 | 0
6.03 | Trafficable apron slab / driveway. Nominally 150mm thick with 200mm thick slab edge beam
| a) Total Concrete | 50 | m3 | 0 | 0
| b) Total SL92T 40 Cover Mesh | 280 | m² | 0 | 0
6.04 | Apron Slab Footpath North-East of M&E Shed. Nominally 150mm Thick
| a) Total Concrete | 1.8 | m3 | 0 | 0
| b) Total SL82T 40 Cover Mesh | 12 | m² | 0 | 0
6.043 | Surface mounted bollards. 140mm diameter, 1.3m high | 9 | qty | 0 | 0
6.056 | Any other works required for the apron slabs not captured above | 1 | LS | 0 | 0
7 | Major Concrete Works - Inlet Works |  |  |  | 0
7.01 | Screw pile(s) 80kN capacity | 2 | qty | 0 | 0
7.02 | Confirm existing screw piles are suitable for 80kN capacity | 2 | qty | 0 | 0
7.03 | New 200mm thick inlet works slab
| a) Total Concrete | 1.5 | m3 | 0 | 0
| b) N12-200 'U' and 'L' bars, dowells into existing structure (as per drawing) | 1 | LS | 0 | 0
7.043 | Saw cut and demolish existing inlet channel wall down to channel floor as shown within design drawings | 1 | LS | 0 | 0
7.053 | Inlet Works Wheelbarrow/Wheel Bin Slab/Landing
| a) Total Concrete | 0.8 | m3 | 0 | 0
| b) Total SL81 Mesh | 6 | m² | 0 | 0
7.063 | Proposed Wheeled Bin Footpath to connect to concrete trafficable road (site run as per CMDG-R-051) | 25 | per LM | 0 | 0
7.073 | Any other major works required for the inlet works not captured above | 1 | LS | 0 | 0
7 | Inlet Works - Minor Works |  |  |  | 0
7.01 | Fabricate and install 10mm bar screen | 1 | qty | 0 | 0
7.02 | Fabricate and install 20mm bar screen | 1 | qty | 0 | 0
7.03 | Modifications to bypass pipeline (coring, raising nominally as per design drawings) to provide positive grading to chamber D/S of mechanical screen | 1.5 | m3 | 0 | 0
7.04 | Installation of Anchorage AG631 Adjustable Height Pipe Supports for incoming pipeline on new 200mm piled slab | 2 | qty | 0 | 0
7.05 | Grouting within bypass and overflow chamber to promote drainage of channel | 1 | LS | 0 | 0
7.06 | Any other minor works required for the inlet works not captured above | 1 | LS | 0 | 0
16 | TESTING, COMMISSIONING AND ACCEPTANCE |  |  |  | 0
16.01 | Testing and Demonstration of all equipments and system supplied under this contract for testing and commissioning stages up to and including: | 1 | LS | 0 | 0
Liquid tightness
Construction verification
Dry-commmisioning
Wet commissioning
16.02 | Process commissioning | 1 | LS | 0 | 0
16.03 | Proof of performance | 1 | LS | 0 | 0
16.04 | Any item not listed above (please specify) | 1 | LS | 0 | 0
16.05 | Any item not listed above (please specify) | 1 | LS | 0 | 0
16.06 | Any item not listed above (please specify) | 1 | LS | 0 | 0
17 | PROVISIONAL ITEMS - ALL ITEMS SHOWN IN THIS SCHEDULE ARE PROVISIONAL AND WILL BE USED AS INSTRUCTED BY THE PRINICALS REPRESENTATIVE. |  |  |  | 0
17.01 | <additional items> | 1 | PS | 0 | 0
17.02 | <additional items> | 1 | LS | 0 | 0
7.03 | <additional items> | 1 | LS | 0 | 0
7.04 | <additional items> | 1 | LS | 0 | 0
7.05 | <additional items> | 1 | LS | 0 | 0
| TOTAL (ex. GST) |  |  |  | 0
| GST |  |  |  | 0
| TOTAL (including GST) |  |  |  | 0

## Labour Rates
Labour Rates
Description | Normal time Business Days ($/hr) | Out of hours Business Days ($/hr) | Normal time non Business Days ($/hr) | Out of hours non Business Days ($/hr)
Civil Team | Per working hour (ex GST)
Unskilled Labourer
Skilled Labourer
Plant operator
Truck driver
Plumber
Graduate Engineer
Senior Engineer
Senior Engineer / Design Lead RPEQ
Mechanical Team | Per working hour (ex GST)
Mech-Trade Person
Mech-Trade Assistant / Labourer
Graduate Engineer
Senior Engineer
Senior Engineer / Design Lead RPEQ
Electrical Team | Per working hour (ex GST)
Elec-Trade Assistant
Elec-Trade Person
Graduate Engineer
Senior Engineer
Senior Engineer / Design Lead RPEQ
Supervision | Per working hour (ex GST)
Leading Hand Supervisor Civil
Project Manager

## Equipment Rates
Equipment Rates
Equipment Description | Make/ Model | Own/ Hired/ Leased | Standby Rate $/Hour* | Charge Out Rate $/Hour*
Eg. Excavator
Eg. Bobcat
Eg. Body Truck
Eg. Truck and Dog
Eg. Vac Truck